## Equipment
Equipment_Type
Controlled_Field_Area |  | (De)Magnetizer |  | Field&Samples |  | Rock_Magnetism |  | Rock_Magnetometer
Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Name
Shielded_Room | In-house design | AF_Demagnetizer | 2G in-line AF degaussing | Sample_Preparation | Analysette 3 PRO sieve | Microscope | AFM/MFM microscope (Veeco Nanoscope IIIa) | Astatic | Other
| Lodestar Magnetics |  | AGICO AF demagnetizer LDA-3A |  | Franz magnetic barrier separator LB-1 |  | Other | Cryogenic | 2G cryogenic magnetometer discrete samples
| Mu-metal chamber |  | AGICO AF demagnetizer LDA-5 (up to 200 mT) |  | Magnetic extraction system in aqueous phase | Magneto-Optic_Kerr_Effect | Durham NanoMOKE3 (magneto-optic Kerr effect) |  | 2G cryogenic magnetometer long core
| Soft-iron chamber |  | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM |  | MF306 muffle furnace |  | Other |  | 2G SQUID magnetometer
| Soudupin |  | Molspin AF-demagnetizer |  | Pulverisette 6 mill | Coercitivity_Spectrometer | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) |  | Other
| Other |  | Schonstedt GSD-1 AF demagnetizer |  | Pycnometer |  | Mössbauer spectrometer | Spinner | AGICO spinner magnetometer JR-5
Helmoltz_Coils | Magnetic Measurements active shielding |  | Schonstedt GSD-5 AF demagnetizer |  | Sigma 2-6 centrifuge |  | Other |  | AGICO spinner magnetometer JR-6
| Magnetic Measurements low field cage |  | Other |  | Other | Variable_Field_Translation_Balance | Magnetic Measurements variable field translation balance |  | Molspin Minispin
| Self-compensating Helmoth coils | Thermal_Demagnetizer | ASC Scientific thermal demagnetizer, absolute paleointensity | Portable_Magnetometer | Bartington Mag-01H single axis fluxgate |  | Modified horizontal translation Curie balance |  | Molspin spinner
| Other |  | ASC Scientific thermal demagnetizer, dual-chamber TD48-DC |  | GEM systems Overhauser |  | Other |  | Other
Other | Other |  | ASC Scientific thermal demagnetizer, single chamber |  | Other | Hysteresis_Properties | MicroSense VSM with temperature control between 77-1000 K | Vibrating | One-axis vibrating magnetometer
|  |  | MMTD80 shermal demagnetizer | Field_Equipment | Marcrist DDM3-230 diamond core drill |  | Molspin VSM |  | Tri-axial vibrating magnetometer
|  |  | MMTDSC super-cooled thermal demagnetizer |  | Portable rock drill MMPRD |  | Princeton Micromag 2900/3900 AGM/VSM |  | Other
|  |  | Pyrox Scientific thermal demagnetizer |  | Other |  | Princeton Micromag 2900/3900 AGM/VSM with cryostat | Other | Other
|  |  | Schonstedt TSD-1 thermal demagnetizer | Other | Other |  | Princeton Micromag 2900/3900 AGM/VSM with cryostat and oven
|  |  | Other |  |  |  | Quantum Design MPMS 3
|  | ARM_Acquisition | 2G in-line ARM device |  |  |  | Quantum Design MPMS 55
|  |  | AGICO AMU-1A anhysteretic magnetizer |  |  |  | Quantum Design MPMS XL(-5)
|  |  | ASC DTech2000 in-line ARM and pARM devices |  |  |  | Quantum Design PPMS
|  |  | Molspin in-line ARM attachment |  |  |  | Quantum Design PPMS (9T and 14T)
|  |  | Other |  |  |  | Other
|  | IRM_Acquisition | 2G in-line IRM device |  |  | Susceptibility_Meter | 2G in-line MS2C susceptibility meter
|  |  | 2G pulse magnetizer |  |  |  | AGICO CS2 furnace
|  |  | ASC IM10-30 pulse magnetizer, 2 coils |  |  |  | AGICO CS3 furnace
|  |  | ASC IM10-30 pulse magnetizer, 4 coils |  |  |  | AGICO CS-L cooler
|  |  | M2T-1 pulse magnetizer |  |  |  | AGICO Kappabridge KLY2
|  |  | Magnetic Measurements pulse magnetizer |  |  |  | AGICO Kappabridge KLY3
|  |  | MMPM10 pulse magnetizer |  |  |  | AGICO Kappabridge KLY4
|  |  | MMPM9 pulse magnetizer |  |  |  | AGICO Kappabridge KLY5
|  |  | Other |  |  |  | AGICO Kappabridge MFK1
|  | TRM _Acquisition | TRM acquisition in air/vacuum |  |  |  | Bartington magnetic susceptibility meter
|  |  | Other |  |  |  | Custom-build
|  | Other | Other |  |  |  | GF Instruments PMG-1 GF Proton
GF Instruments SM-20
[7 empty] | GF Instruments SM-30 |  | 1
GF Instruments SM-400
SI2B susceptibility meter
TerraPlus KT-10
Other
[6 empty] | Other | Other

## Measurements
Magnetic_Susceptibility |  | Remanent_Magnetisation |  | Magnetic_Properties
Measurement_Group | Measurement_Name | Measurement_Group | Measurement_Name | Measurement_Group | Measurement_Name
Susceptibility | Bulk magnetic susceptibility | Paleointensity | Absolute paleointensity | Hysteresis_Curves | Hysteresis parameters
| Field dependence magnetic susceptibility |  | Relative paleointensity |  | Backfield hysteresis curves
| Frequency dependence magnetic susceptibility |  | Other |  | Other
| Temperature dependence magnetic susceptibility | Demagnetization | AF demagnetization | FORC | FORC
| Other |  | Thermal demagnetisation |  | Other
Anisotropy | Anisotropy of magnetic susceptibility |  | Other | Thermomagnetic_Curves | High field thermomagnetic curves
| Anisotropy of magnetic susceptibility at low temperature | Remanent_Magnetisation | Anhysteretic remanent magnetisation |  | Other
| Anisotropy of magnetic susceptibility at room temperature |  | Isothermal remanent magnetisation | Other | Other
| Other |  | Natural remanent magnetisation
Other | Other |  | Other
|  | Anisotropy | Anisotropy of anhysteretic remanent magnetisation
Anisotropy of isothermal remanent magnetisation
Natural anisotropy of remanent magnetisation
Other
|  | Other | Other