## Analogue modelling lab info
TCS Multi-scale laboratories: Analogue modelling
1: Lab information
Lab information | The Laboratory of Experimental Tectonics (LET) is hosted at the Department of Sciences of the Univ. “Roma TRE”. The LET was born on 1994, following the international tradition on experimental modelling and it has been the first Italian analog laboratory. The scientific activity of the LET is focused on four main research themes: 1. crustal deformations (orogenetic and rifting processes); 2. lithospheric deformations (subduction, delamination, post-glacial rebound); 3. magmatic processes (volcano-tectonics and intrusive processes) 4. rupture and propagation of faults in the crust/lithosphere. The LET merges methodologic research lines having geodynamic goals and direct applications to natural hazards. The study of crustal scale deformations provided insights into the deformation variability of natural systems as a function of the brittle-ductile strength of the crust. Innovative models have been setup building up a thermomechanical prototype. Lithospheric scale deformations have been studied characterizing the geometry/kinematics/dynamics of the subduction process during the journey of the slab into the upper and lower mantle. A parametric analysis has been dedicated to highlight the role played by dimension/density/viscosity of lithosphere and mantle in the subduction process. The LET activity has been distinguished for its studies on the subduction induced mantle circulation and the dynamic topography associated to this process. Magmatic processes have been studied looking at deformations induced by both magma injection in volcanoes or plutons and the collapse of volcanic edifices. The availability of a rheometer allows for the selection and the rheological characterization of analog materials. In particular, the “pig skin” gelatin has been used to set-up novel analog models to shed light on the behavior of the subduction thrust fault and to provide insights on the triggering of mega-earthquakes. The recent logistic and structural improvements of the LET and the development of quantification techniques consolidated the already wide number of national and international collaborations, increasing their quality and quantity. The LET is thus a reference analog laboratory in the scientific community. This is also mirrored by the involvement of the LET in numerous scientific projects (e.g., PRIN-MIUR, National Civil Protection, EC, NSF, ESF, EUROHORC) and outreach activities (e.g., Committee on Education EGU, Geo&Geo, Discovery’s Science Channel). Moreover, the LET researchers have been awarded with several prizes (e.g., EURYI award 2006, Premio Galileo 2010, EGU Stephan Muller medal 2014, Burgen Scholar Award 2009, EGU Outstanding Early Career Scientists Award 2018, Burov medal 2018, AGU medal 2018) for the high level of their scientific results
2: Practical info
RI name | University "Roma TRE"
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Laboratory of Experimental Tectonics (Universitá degli studi "Roma TRE", Italy)
Facility Name (if other)
Facility address (street + number) | Largo San Leonardo Murialdo 1
Facility address (postcode) | 00146
Facility address (city) | Rome
Facility address (country) | Italy
Facility gpsLat (decimal degree) | 41.8541
Facility gpsLon (decimal degree) | 12.4657
Facility research field | Analogue modelling of geologic processes
Facility website | https://www.scienze.uniroma3.it/research/labs/27
Facility contact person (first name) | Francesca
Facility contact person (family name) | Funiciello
Facility contact person ID | orcid.org/0000-0001-7900-8272
Facility contact person Email | francesca.funiciello@uniroma3.it
Affiliation of Facility contact person | Università degli studi "Roma TRE", Italy
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Apparatus | Glass/Plexiglas box > Glass/Plexiglas box (cm scale) |  | artisan apparati | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, size, year of acquisition, purchase value | #10 of different sizes | relevant papers referring to the equipment
Apparatus | Glass/Plexiglas box > Glass/Plexiglas box (meter scale) |  | artisan apparati |  |  |  |  | #2 of different sizes
Apparatus | Densimeter |  | A&D, model HR 200
Apparatus | Other | Thermally insulated room | Equipped with T control and air extractor
Apparatus | Thermomechanics apparatus |  | artisan apparati; Each apparatus is equipped with 10 termocouples, 4 stepping motors 2 carpet-heaters , Plexiglas/alluminium box, Injectors (with different shapes and dimensions), Heaters, Dryers Dedicated PC with remote control of the mechanics/temperature
Apparatus | Sandbox > Sandbox (meter scale) |  | artisan apparatus; equipped with rigid support and 2 stepping motors.
Apparatus | Other | Apparatus to simulate volcano-tectonic processes | artisan apparatus; equipped with: rigid support, 2 stepping motors, injectors (with different shapes and dimensions)
Apparatus | Rheometer |  | MCR 301 - Anton Paar, Physica; Modular rheometer, air bearing EC motor with frequency range 10-5- 100 Hz, 0.05 μNm-200 mNm torque and 0,1 nNm torque resolution. Equipped with:(2) double Peltier temperature control; parallel plates (2), cone-plate system; couette system with stirrer; software Rheoplus, dedicated PC, oilless compressor ST120R Fulltech, humidity controller, technical working table
Apparatus | Peristaltic pump |  | Watson, Marlow, Bredel Pumps. Up to 2000 ml/min from three-roller 323S/D · Precision digital speed control 1rpm steps from 3 to 400rpm, 133:1 control ratio
Software | Other | Software for videocameras AVT | Software for acquisition (including synchronization) for videocameras AVT. Working framerates (1fps-30fps)
Apparatus | Dynamometer |  | Mecmesin; Digital force sensors sensitivity 0.02 N. Equipped with software Emperor Lite.
Apparatus | Other | Technical owens (2) | Lenton; Tmax of 250°C
Apparatus | Other | Concrete mixers to be used to mix up analog materials. 0.02-5 rpm | Imer
Apparatus | Pycnometer |  | for low(#2) and high (#1) viscous fluids
Apparatus | Electric engine (mm/hr) | Stepping motors, reductions, screws, pistons | Motor systems to be used for a wide range of experimental applications; velocity ranges: 0.01 cm/h-180 cm/h
Monitoring | High frame rate camera | Videocamera AVT - Image S | Equipped with 4,5 m cable, lenses Megapixel low distortion 12mm and 25 mm, cable and trigger generator, acquisition system, recording system
Monitoring | Generic camera | 7 digital cameras and 2 reflex with intervallometers | Canon, Sony, Nikon
Apparatus | Other | #2 Laser scans. Includes dedicated PCs, reverse engineering software, merging and alignment software STL, ASCII, VRML output. | E scan- 3 D Digital Corp
Apparatus | Viscometer |  | Viscosimeter Couette; artisan made; range of viscosity> 10 Pas
Apparatus | Other | Led lamps | Cobra slim; 30 cm long (white light) and 60 cm long (UV light)
Apparatus | Cooler device |  | Blast chiller; model Alexander. Positive blast: 10 +70° +3° (Kg 38) - Negative blast: +70° -18° ( Kg 25)
Monitoring | Other | Photographic lamps | #10 white light lamps
Apparatus | Earthquake simulator |  | °2 artisan apparati; Equipped with stepping motors, alluminium/plastic basal plate, dedicated PCs with remote control of the mechanics
Apparatus | Rainfall system |  | artisan apparatus
Software | Feature Tracking
Software | Matlab (Mathworks)
Software | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Matlab code
Software | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MatPIV
Software | Other | 3D e-scan
Software | Other | Rheoplus and RheoCompass
In the section below please specify the information about each material used in the lab in different rows
Material | Material (if other) | Material brand | Material specifics and comments | References
Carbopol |  | Lubrizol | yield stress–shear thinning hydrogel | http://doi.org/10.1016/j.tecto.2014.12.005
Gelatine > Pig skin |  | Italgelatine | rom purely elastic to visco-elasto-brittle to purely viscous (nonlinear) rheology going from the gel- to the sol-state | 10.1016/j.tecto.2016.04.021; 10.1016/j.tecto.2009.03.012
Gelatine > Xantan |  | Kelko | rom purely elastic to visco-elasto-brittle to purely viscous (nonlinear) rheology going from the gel- to the sol-state | 10.1016/j.tecto.2009.03.012
Gelatine > K-caragean |  | Kelco | rom purely elastic to visco-elasto-brittle to purely viscous (nonlinear) rheology going from the gel- to the sol-state | 10.1016/j.tecto.2009.03.012
Gelatine > Gellan gum |  | Kelco | rom purely elastic to visco-elasto-brittle to purely viscous (nonlinear) rheology going from the gel- to the sol-state | 10.1016/j.tecto.2009.03.012
Golden syrup |  | Adea S.r.l, Syral | Newtonian fluid | in most on the LET experimental papers on subduction otherwise there is this overview 10.1016/j.jsg.2011.03.013
Iron Powder |  | Scharlau | granular material used as filler for the silicone | available on the factory sheets
Silicon/Silly putty/PDMS |  | Rhodia | Visco-elastic material | in most on the LET experimental papers on subduction otherwise there is this overview 10.1016/S0040-1951(02)00080-X
Sand |  | eolian sand taken in the fossil dune of Fossanova (Latina, Italy) | granular material | 10.1016/S0191-8141(03)00041-5
Vegetable oil |  | viscous yield stress material
Air |  | n.a.
Water |  | n.a.
Microspheres |  |  | granular material | 10.1016/S0191-8141(03)00041-5
In the section below please specify the information about each measured property in different rows
Measured property | Measured property (if other) | Measured property specifics and comments | References
Density |  | Availability of a densimeter and picnometers for low and high viscous fluids | relevant papers referring to measured property
Friction coefficient |  | Availability of a spring block-like apparatus
Grain size distribution |  | Microscopy
Loss modulus |  | Rheometer
Maxwell relaxation time |  | Rheometer
Poisson ratio |  | Deformation measurements
Rheological model |  | Rheometer
Viscosity |  | Viscosimeter Couette, Rheometer, Stocks analysis
Storage modulus |  | Rheometer
Surface image |  | cameras, videocameras and 3D laser scans
Surface roughness |  | cameras, videocameras and 3D laser scans
Stress exponent |  | Rheometer
Young modulus |  | Flexure analysis

## Lab names
LabNames
FASTmodel- Laboratoire de modélisation analogique Fluides Automatique et Systèmes Thermiques (CNRS-Paris Sud Orsay University, France)
Fragmentation Lab (Ludwig-Maximilians-University Munich, Germany)
GECmodel - Laboratoire de modélisation analogique Géosciences et Environnement (CNRS-Cergy-Pontoise University, France )
GEOAZURmodel - Laboratoire de modélisation analogique Géoazur (CNRS-Nice Sophia Antipolis University, France)
GEOMODELS Analogue Modelling Laboratory (Universitat de Barcelona, Spain)
Geoϕlab - Laboratoire de modélisation analogique Géosciences Le Mans (CNRS-Maine University, France)
GETmodel - Laboratoire de modélisation analogique Géosciences Environnement (CNRS-Toulouse University, France)
Gmmodel - Laboratoire de modélisation analogique Géosciences Montpellier (CNRS-Montpellier University, France)
Grmodel - Laboratoire de modélisation analogique Géosciences Rennes (CNRS-Rennes 1 University, France)
HelTec - Helmholtz Laboratory for Tectonic Modelling (GFZ Potsdam, Germany)
Laboratorio de Deformació Experimental (Universitat Autònoma de Barcelona, Spain)
Laboratorio de Modelización Analógica (Universidad de Zaragoza-IGME, Spain)
Laboratorio de Modelización Analógica de Estructuras Geológicas (Universidad de Granada, Spain)
Laboratory of Experimental Tectonics (Universitá degli studi "Roma TRE", Italy)
LMVmodel - Laboratoire de modélisation analogique Magmas et Volcans (CNRS-Clermont-Ferrand University, France)
LOGmodel - Laboratoire de modélisation analogique d’Océanologie et de Géosciences (CNRS-Lille 1 University, France)
Magma Chamber Analogue Modelling Laboratory (CSIC-ICTJA, Spain)
TecLab - Tectonic Modelling Laboratory (Utrecht University, The Netherlands)
Tectonics Modelling Laboratory (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università degli studi "Roma TRE", Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment type
Equipment type | Apparatus | Monitoring | Software
Apparatus | 2D Convection box | Generic camera | CloudCompare
Monitoring | 3D Convection box | Conductivity measuring system | Envi-IDL
Software | Glass/Plexiglas box > Glass/Plexiglas box (cm scale) | X-ray computed tomographic scanner (CT-scan) | Erdas (LEYCA)
| Glass/Plexiglas box > Glass/Plexiglas box (meter scale) | Deflection of a light beam | Geomodeller (Intrepid Geoscience)
| Cooler device | Discharge meter | GeoSec
| Densimeter | Electrochemical techniques | GeoTools (AOA Geophysics Inc)
| Dynamometer | Force sensor | GOCAD (Earth Decision - Paradigm)
| Earthquake simulator | High frame rate camera | Feature Tracking
| Electric engine (mm/hr) | Kinect Microsoft | The Kingdom Suite (SMT)
| Electronic microscope | Laser interferometer | LabView Data Viewer
| Extension box | Laser scanner | LabView Deformation Mapper
| Fault simulator | Lidar | Lens (Agisoft)
| Flow channel | MEMS accelerometer | Light-3D
| Fluid injector | Photoelasticity | Matlab (Mathworks)
| Fluid injector termally controlled | Piezotransducer | MeshLab
| Fluid pressure device | Schlieren/MoirÃ© | Microstation XM (Bentley)
| Fog box | Sectioning | Move (Midland Valley)
| Granular flow simulator | Seismic reflection techniques | OPTUM
| Gravity load device (Centrifuge) | SLR camera | Optical Flow
| Gravity sliding simulator | Strain gauge | Particle Flow Code (numerical software)
| Heating device | Temperature measurement | Pathfinder (Trimble)
| Hubbert-type shear box | Thermochromic liquid crystals | Petrel (Schlumberger)
| Peristaltic pump | Time lapse camera | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Matlab code
| Perspex cylinder | Ultrasonic doppler velocimetry | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > PIVlab
| Pycnometer | Videocamera | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > TecPIV
| Rainfall system | Other | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > StrainMaster (La Vision GmbH)
| Rheometer |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Digital Camera
| Ring-shear tester |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MicMac
| River sytem simulator |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MatPIV
| Sandbox > Sandbox (cm scale) |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > COSI-Corr
| Sandbox > Sandbox (meter scale) |  | Polyworks (Innovmetric)
| Sediment feeders |  | Promax (Landmark)
| Shear box |  | PyLith (numerical software)
| Sieving device |  | QDYN (numerical software)
| Squeeze box |  | RMS (Roxar)
| Subduction box |  | Seiswork (Landmark)
| Thermomechanics apparatus |  | Structure from Motion (SfM) > Apero
| Triaxal tester |  | Structure from Motion (SfM) > Photoscan (Agisoft)
| Tsunami simulator |  | Structure from Motion (SfM) > Pix4d (Analist Group)
| Turbidity current simulator |  | Structure from Motion (SfM) > Python Photogrammetry Toolbox (PPT)
| Uniaxial tester |  | Structure from Motion (SfM) > MicMac
| Vice tester |  | Structure from Motion (SfM) > OpenMVS Open Multiple View Stereovision
| Viscometer |  | Structure from Motion (SfM) > Other SFM based software
| Wedge simulator |  | Structure from Motion (SfM) > Remake (Autodesk)
| Other |  | Structure from Motion (SfM) > 3DF Zephyr (3Dflow)
SLAMTEC
Solidworks
StereoScan (Agisoft)
Terrasync (Trimble)
TopPad (Topcon)
Visual Basic (Microsoft)
Visual Fortran (Compaq)
Visual Studio (Microsoft)
Other

## Material
Material
Air
Alumina Powder
Barium sulphate
Carbopol
Cement-Plaster
Clay
Flour
Flour > Rice
Foam rubber
Gelatine
Gelatine > Pig skin
Gelatine > K-caragean
Gelatine > Gellan gum
Gelatine > Xantan
Glass fragments
Glycerine
Golden syrup
Graphyte
Ignimbrite
Iron Powder
Microspheres
Microspheres > Glassy
Microspheres > Siliceus
Natrosol
Nitrogen
Paraffin
Plastic
Plasticine
Polycrystalline CaTiO3
Polytungstate
PVC rods
Pyrex
Rubber
Sand
Sand > Corundum Sand
Sand > Quartz Sand
Sand > Feldspar Sand
Silicon/Silly putty/PDMS
Sugar
Vegetable oil
Water
Water saturated paste
Other

## Measured property
Measured property
Bulk modulus
Cohesion
Density
Fracture toughness
Friction coefficient
Grain size distribution
Lame constant
Loss modulus
Maxwell relaxation time
Poisson ratio
P-wave velocity
Rate-state parameters
Rheological model
Shear modulus
Surface image
Surface roughness
Storage modulus
Stress exponent
S-wave velocity
Tensile strength
Viscosity
Yield stress
Young modulus
Other