## Analogue modelling lab info
TCS Multi-scale laboratories: Analogue modelling
1: Lab information
Lab information | Explosive volcanic eruptions and their eruptive products impact humans, the environment and infrastructures on local, regional and global scales. For the wide-reaching hazard they pose to our global society, the focus of volcanology is to determine the process controlling the eruptive dynamics of volcanoes and their impact on the Earth system. Modern volcanology is founded on three main methodological pillars: 1) field observations and measurements, 2) laboratory experiments, 3) numerical modelling. The combination of those techniques is paramount to untangle the highly complex nature of processes controlling volcanic eruptions and to provide a reliable and quantitative estimate of the hazard they pose. In particular laboratory research is pivotal in the way it provides quntitative fundamental input parameters to constrain both field observation and numerical models. The experimental volcanology facilities at LMU University of Munich is equipped with world-class uniqueexperimental setups and bench instruments which enable characterization of materials and simulation of processes at conditions relevant to volcanic eruptions. Details on the equipments operative at the experimental facilities can be found at https://www.mineralogie.geowissenschaften.uni-muenchen.de/facilities/frag/index.html
2: Practical info
RI name | Ludwig-Maximilians-Universität München
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Fragmentation Lab (Ludwig-Maximilians-University Munich, Germany)
Facility Name (if other)
Facility address (street + number) | Theresienstrasse 41
Facility address (postcode) | 80333
Facility address (city) | Munich
Facility address (country) | Germany
Facility gpsLat (decimal degree) | 48.1469
Facility gpsLon (decimal degree) | 11.5746
Facility research field | Analogue modelling of geologic processes
Facility website | https://www.en.mineralogie.geowissenschaften.uni-muenchen.de/facilities/index.html
Facility contact person (first name) | Corrado
Facility contact person (family name) | Cimarelli
Facility contact person ID | https://orcid.org/0000-0002-5707-5930
Facility contact person Email | cimarelli@min.uni-muenchen.de
Affiliation of Facility contact person | Ludwig-Maximilians-University Munich, Germany
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Apparatus | Other | Shock tube | Custom made | Bettina Scheu | betty@min.uni-muenchen.de | https://www.en.mineralogie.geowissenschaften.uni-muenchen.de/facilities/frag/index.html#4%20Shock | e.g, size, year of acquisition, purchase value | 1 | https://doi.org/10.1016/j.epsl.2004.07.016.
Apparatus | Other | Shock tube | Custom made | Ulrich Küppers | u.kueppers@lmu.de | https://www.en.mineralogie.geowissenschaften.uni-muenchen.de/facilities/frag/index.html#4%20Shock |  | 1 | https://doi.org/10.1016/j.epsl.2006.06.033
Apparatus | Other | Shock tube | Custom made | Corrado Cimarelli | cimarelli@min.uni-muenchen.de | https://www.en.mineralogie.geowissenschaften.uni-muenchen.de/facilities/frag/index.html#4%20Shock |  | 1 | https://doi.org/10.1130/G34802.1
Apparatus | Pycnometer |  | Micromeritics
Apparatus | Rheometer |  | Anton Paar
Apparatus |  | Laser Particle Analyzer | Coulter
In the section below please specify the information about each material used in the lab in different rows
Material | Material (if other) | Material brand | Material specifics and comments | References
| Rock cores |  | Cylindrical samples of variable aspect ratios | relevant papers referring to the material
| Volcanic ash |  | Natural and synthetic glassy particles
Microspheres > Glassy |  | Potters, Omega | Borosilicate glass speres mm to micron size
Silicon/Silly putty/PDMS |  | Wacker | Silicon oils with variable Newtonian viscosities
In the section below please specify the information about each measured property in different rows
Measured property | Measured property (if other) | Measured property specifics and comments | References
Density |  |  | relevant papers referring to measured property
Viscosity
Grain size distribution
P-wave velocity
S-wave velocity

## Lab names
LabNames
FASTmodel- Laboratoire de modélisation analogique Fluides Automatique et Systèmes Thermiques (CNRS-Paris Sud Orsay University, France)
Fragmentation Lab (Ludwig-Maximilians-University Munich, Germany)
GECmodel - Laboratoire de modélisation analogique Géosciences et Environnement (CNRS-Cergy-Pontoise University, France )
GEOAZURmodel - Laboratoire de modélisation analogique Géoazur (CNRS-Nice Sophia Antipolis University, France)
GEOMODELS Analogue Modelling Laboratory (Universitat de Barcelona, Spain)
Geoϕlab - Laboratoire de modélisation analogique Géosciences Le Mans (CNRS-Maine University, France)
GETmodel - Laboratoire de modélisation analogique Géosciences Environnement (CNRS-Toulouse University, France)
Gmmodel - Laboratoire de modélisation analogique Géosciences Montpellier (CNRS-Montpellier University, France)
Grmodel - Laboratoire de modélisation analogique Géosciences Rennes (CNRS-Rennes 1 University, France)
HelTec - Helmholtz Laboratory for Tectonic Modelling (GFZ Potsdam, Germany)
Laboratorio de Deformació Experimental (Universitat Autònoma de Barcelona, Spain)
Laboratorio de Modelización Analógica (Universidad de Zaragoza-IGME, Spain)
Laboratorio de Modelización Analógica de Estructuras Geológicas (Universidad de Granada, Spain)
Laboratory of Experimental Tectonics (Universitá degli studi "Roma TRE", Italy)
LMVmodel - Laboratoire de modélisation analogique Magmas et Volcans (CNRS-Clermont-Ferrand University, France)
LOGmodel - Laboratoire de modélisation analogique d’Océanologie et de Géosciences (CNRS-Lille 1 University, France)
Magma Chamber Analogue Modelling Laboratory (CSIC-ICTJA, Spain)
TecLab - Tectonic Modelling Laboratory (Utrecht University, The Netherlands)
Tectonics Modelling Laboratory (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università degli studi "Roma TRE", Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment type
Equipment type | Apparatus | Monitoring | Software
Apparatus | 2D Convection box | Generic camera | CloudCompare
Monitoring | 3D Convection box | Conductivity measuring system | Envi-IDL
Software | Glass/Plexiglas box > Glass/Plexiglas box (cm scale) | X-ray computed tomographic scanner (CT-scan) | Erdas (LEYCA)
| Glass/Plexiglas box > Glass/Plexiglas box (meter scale) | Deflection of a light beam | Geomodeller (Intrepid Geoscience)
| Cooler device | Discharge meter | GeoSec
| Densimeter | Electrochemical techniques | GeoTools (AOA Geophysics Inc)
| Dynamometer | Force sensor | GOCAD (Earth Decision - Paradigm)
| Earthquake simulator | High frame rate camera | Feature Tracking
| Electric engine (mm/hr) | Kinect Microsoft | The Kingdom Suite (SMT)
| Electronic microscope | Laser interferometer | LabView Data Viewer
| Extension box | Laser scanner | LabView Deformation Mapper
| Fault simulator | Lidar | Lens (Agisoft)
| Flow channel | MEMS accelerometer | Light-3D
| Fluid injector | Photoelasticity | Matlab (Mathworks)
| Fluid injector termally controlled | Piezotransducer | MeshLab
| Fluid pressure device | Schlieren/MoirÃ© | Microstation XM (Bentley)
| Fog box | Sectioning | Move (Midland Valley)
| Granular flow simulator | Seismic reflection techniques | OPTUM
| Gravity load device (Centrifuge) | SLR camera | Optical Flow
| Gravity sliding simulator | Strain gauge | Particle Flow Code (numerical software)
| Heating device | Temperature measurement | Pathfinder (Trimble)
| Hubbert-type shear box | Thermochromic liquid crystals | Petrel (Schlumberger)
| Peristaltic pump | Time lapse camera | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Matlab code
| Perspex cylinder | Ultrasonic doppler velocimetry | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > PIVlab
| Pycnometer | Videocamera | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > TecPIV
| Rainfall system | Other | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > StrainMaster (La Vision GmbH)
| Rheometer |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Digital Camera
| Ring-shear tester |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MicMac
| River sytem simulator |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MatPIV
| Sandbox > Sandbox (cm scale) |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > COSI-Corr
| Sandbox > Sandbox (meter scale) |  | Polyworks (Innovmetric)
| Sediment feeders |  | Promax (Landmark)
| Shear box |  | PyLith (numerical software)
| Sieving device |  | QDYN (numerical software)
| Squeeze box |  | RMS (Roxar)
| Subduction box |  | Seiswork (Landmark)
| Thermomechanics apparatus |  | Structure from Motion (SfM) > Apero
| Triaxal tester |  | Structure from Motion (SfM) > Photoscan (Agisoft)
| Tsunami simulator |  | Structure from Motion (SfM) > Pix4d (Analist Group)
| Turbidity current simulator |  | Structure from Motion (SfM) > Python Photogrammetry Toolbox (PPT)
| Uniaxial tester |  | Structure from Motion (SfM) > MicMac
| Vice tester |  | Structure from Motion (SfM) > OpenMVS Open Multiple View Stereovision
| Viscometer |  | Structure from Motion (SfM) > Other SFM based software
| Wedge simulator |  | Structure from Motion (SfM) > Remake (Autodesk)
| Other |  | Structure from Motion (SfM) > 3DF Zephyr (3Dflow)
SLAMTEC
Solidworks
StereoScan (Agisoft)
Terrasync (Trimble)
TopPad (Topcon)
Visual Basic (Microsoft)
Visual Fortran (Compaq)
Visual Studio (Microsoft)
Other

## Material
Material
Air
Alumina Powder
Barium sulphate
Carbopol
Cement-Plaster
Clay
Flour
Flour > Rice
Foam rubber
Gelatine
Gelatine > Pig skin
Gelatine > K-caragean
Gelatine > Gellan gum
Gelatine > Xantan
Glass fragments
Glycerine
Golden syrup
Graphyte
Ignimbrite
Iron Powder
Microspheres
Microspheres > Glassy
Microspheres > Siliceus
Natrosol
Nitrogen
Paraffin
Plastic
Plasticine
Polycrystalline CaTiO3
Polytungstate
PVC rods
Pyrex
Rubber
Sand
Sand > Corundum Sand
Sand > Quartz Sand
Sand > Feldspar Sand
Silicon/Silly putty/PDMS
Sugar
Vegetable oil
Water
Water saturated paste
Other

## Measured property
Measured property
Bulk modulus
Cohesion
Density
Fracture toughness
Friction coefficient
Grain size distribution
Lame constant
Loss modulus
Maxwell relaxation time
Poisson ratio
P-wave velocity
Rate-state parameters
Rheological model
Shear modulus
Surface image
Surface roughness
Storage modulus
Stress exponent
S-wave velocity
Tensile strength
Viscosity
Yield stress
Young modulus
Other