## Analogue modelling lab info
TCS Multi-scale laboratories: Analogue modelling
1: Lab information
Lab information | Types of analyses. The experimental technique involves the construction of analogue physical models at a reduced time and length scale of the natural geological process (prototype) under study. Although these models simplify the geometry and rheology, they represent a realistic dynamic and geometric replica of the prototype. The laboratory is equipped with a number of apparatuses (operating in both normal and enhanced gravity) that may simulate the different tangential and vertical forces acting in nature. Specifically, the apparatuses can induce deformation in both pure and simple shear conditions, allowing to investigate a large variety of crustal and lithospheric-scale experiments in extensional, compressional, or strike slip settings. Laboratory equipment: 1) 1 large-capacity centrifuge PM980R (ALC International) that allows the deformation of physical models in an enhanced gravitational field, particularly suitable to model the continental extension processes. 2) 1 pure-simple shear prototype apparatus that allows to vary the kinematics imposed to the mobile wall, thereby simulating the deformation in different tectonic settings. A special apparatus consists of an electrically-controlled piston that injects the silicone into the model to reproduce the emplacement of analogue magma during deformation. 3) 1 pure shear prototype apparatus that allows the unidirectional deformation of the model. 4) 1 coni-cylindrical viscometer for measuring the viscosity of experimental ductile materials. 5) 1 apparatus for interferometric analysis of model surface. Sequential 3D digital elevation models (DEM) allow to analyse the evolution of tectonic structures and associated topographic response in great detail. 6) 1 laser scanner Optix 400M (3D Digital Corporation) for monitoring (in all deformation apparatuses) the evolution of model topography through time. Research activity. The activity of the ‘Tectonic Modelling Laboratory’ aims to investigate geological and tectonic processes occurring in nature at different scales, from mesoscopic to lithospheric. In particular, the main research lines address some of the tectonic processes that are fundamental for the evolution of Earth, particularly: continental extension, continental collision and development of orogenic belts, inversion tectonics, emplacement of magma in different geodynamic settings, and analysis of sedimentary basins. Other studies address geomorphological processes (e.g., modeling of ice flow and landslide phenomena) as well as the conservation of cultural heritage (e.g., stability analysis of the Michelangelo’s David).
2: Practical info
RI name | Istituto di Geoscienze e Georisorse(IGG)-CNR
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Tectonics Modelling Laboratory - Firenze (IGG-CNR, Italy)
Facility Name (if other)
Facility address (street + number) | Via La Pira, 4
Facility address (postcode) | 50121
Facility address (city) | Firenze
Facility address (country) | Italy
Facility gpsLat (decimal degree) | 43.7783
Facility gpsLon (decimal degree) | 11.2598
Facility research field | Analogue modelling of geologic processes
Facility website | https://www.igg.cnr.it/en/laboratories/analogical-and-numerical-modelling/tectonic-modelling-laboratory/
Facility contact person (first name) | Marco
Facility contact person (family name) | Bonini
Facility contact person ID | orcid.org/0000-0003-4818-8076; Scopus Author ID: 7005184720.
Facility contact person Email | marco.bonini@igg.cnr.it
Affiliation of Facility contact person | IGG-CNR, Italy
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Apparatus | Other | large-capacity centrifuge PM980R | ALC International | only if different from facility contact person | only if different from facility contact person | only if different from facility website | year of acquisition 2004 | 1 | Agostini A., Corti G. et al 2009. Geochem. Geophys. Geosyst. 10, Q11015. doi:10.1029/2009GC002676. Corti G., Costagliola P., Bonini M. et al 2015, Journal of Cultural Heritage 16, 26–31; doi: 10.1016/j.culher.2014.03.001.
Apparatus | Other | pure-simple shear apparatus | Prototype |  |  |  | year of acquisition 2002 | 1 | Del Ventisette C., Montanari D., Sani F., Bonini M., 2006. Journal of Structural Geology 28, 2067-2083; doi: :10.1016/j.jsg.2006.07.012. Bonini M., Sani F., Antonielli B, 2012. Tectonophysics 522–523, 55–88; doi:10.1016/j.tecto.2011.11.014.
Apparatus | Other | pure shear apparatus | Prototype
Apparatus | Other | coni-cylindrical viscometer
Monitoring | Laser interferometer
Monitoring | Laser scanner |  | 3D Digital Corporation Optix 400M
In the section below please specify the information about each material used in the lab in different rows
Material | Material (if other) | Material brand | Material specifics and comments | References
Sand > Quartz Sand |  | Sibelco Italia S.p.A. |  | relevant papers referring to the material
Sand > Feldspar Sand |  | AKW Kaolin
Microspheres |  | Prochima
Silicon/Silly putty/PDMS |  | Dow Corning
In the section below please specify the information about each measured property in different rows
Measured property | Measured property (if other) | Measured property specifics and comments | References
Grain size distribution |  |  | relevant papers referring to measured propertyMontanari, D., Agostini, A., Bonini, M., Corti, C., Del Ventisette, C., 2017. The Use of Empirical Methods for Testing Granular Materials in Analogue Modelling. Materials 10, 635; doi:10.3390/ma10060635.
Cohesion
Density
Friction coefficient

## Lab names
LabNames
FASTmodel- Laboratoire de modélisation analogique Fluides Automatique et Systèmes Thermiques (CNRS-Paris Sud Orsay University, France)
Fragmentation Lab (Ludwig-Maximilians-University Munich, Germany)
GECmodel - Laboratoire de modélisation analogique Géosciences et Environnement (CNRS-Cergy-Pontoise University, France )
GEOAZURmodel - Laboratoire de modélisation analogique Géoazur (CNRS-Nice Sophia Antipolis University, France)
GEOMODELS Analogue Modelling Laboratory (Universitat de Barcelona, Spain)
Geoϕlab - Laboratoire de modélisation analogique Géosciences Le Mans (CNRS-Maine University, France)
GETmodel - Laboratoire de modélisation analogique Géosciences Environnement (CNRS-Toulouse University, France)
Gmmodel - Laboratoire de modélisation analogique Géosciences Montpellier (CNRS-Montpellier University, France)
Grmodel - Laboratoire de modélisation analogique Géosciences Rennes (CNRS-Rennes 1 University, France)
HelTec - Helmholtz Laboratory for Tectonic Modelling (GFZ Potsdam, Germany)
Laboratorio de Deformació Experimental (Universitat Autònoma de Barcelona, Spain)
Laboratorio de Modelización Analógica (Universidad de Zaragoza-IGME, Spain)
Laboratorio de Modelización Analógica de Estructuras Geológicas (Universidad de Granada, Spain)
Laboratory of Experimental Tectonics (Universitá degli studi "Roma TRE", Italy)
LMVmodel - Laboratoire de modélisation analogique Magmas et Volcans (CNRS-Clermont-Ferrand University, France)
LOGmodel - Laboratoire de modélisation analogique d’Océanologie et de Géosciences (CNRS-Lille 1 University, France)
Magma Chamber Analogue Modelling Laboratory (CSIC-ICTJA, Spain)
TecLab - Tectonic Modelling Laboratory (Utrecht University, The Netherlands)
Tectonics Modelling Laboratory - Firenze (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università degli studi "Roma TRE", Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment type
Equipment type | Apparatus | Monitoring | Software
Apparatus | 2D Convection box | Generic camera | CloudCompare
Monitoring | 3D Convection box | Conductivity measuring system | Envi-IDL
Software | Glass/Plexiglas box > Glass/Plexiglas box (cm scale) | X-ray computed tomographic scanner (CT-scan) | Erdas (LEYCA)
| Glass/Plexiglas box > Glass/Plexiglas box (meter scale) | Deflection of a light beam | Geomodeller (Intrepid Geoscience)
| Cooler device | Discharge meter | GeoSec
| Densimeter | Electrochemical techniques | GeoTools (AOA Geophysics Inc)
| Dynamometer | Force sensor | GOCAD (Earth Decision - Paradigm)
| Earthquake simulator | High frame rate camera | Feature Tracking
| Electric engine (mm/hr) | Kinect Microsoft | The Kingdom Suite (SMT)
| Electronic microscope | Laser interferometer | LabView Data Viewer
| Extension box | Laser scanner | LabView Deformation Mapper
| Fault simulator | Lidar | Lens (Agisoft)
| Flow channel | MEMS accelerometer | Light-3D
| Fluid injector | Photoelasticity | Matlab (Mathworks)
| Fluid injector termally controlled | Piezotransducer | MeshLab
| Fluid pressure device | Schlieren/MoirÃ© | Microstation XM (Bentley)
| Fog box | Sectioning | Move (Midland Valley)
| Granular flow simulator | Seismic reflection techniques | OPTUM
| Gravity load device (Centrifuge) | SLR camera | Optical Flow
| Gravity sliding simulator | Strain gauge | Particle Flow Code (numerical software)
| Heating device | Temperature measurement | Pathfinder (Trimble)
| Hubbert-type shear box | Thermochromic liquid crystals | Petrel (Schlumberger)
| Peristaltic pump | Time lapse camera | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Matlab code
| Perspex cylinder | Ultrasonic doppler velocimetry | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > PIVlab
| Pycnometer | Videocamera | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > TecPIV
| Rainfall system | Other | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > StrainMaster (La Vision GmbH)
| Rheometer |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > Digital Camera
| Ring-shear tester |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MicMac
| River sytem simulator |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > MatPIV
| Sandbox > Sandbox (cm scale) |  | Digital Image Correlation (DIC) / Particle Image Velocimetry (PIV) > COSI-Corr
| Sandbox > Sandbox (meter scale) |  | Polyworks (Innovmetric)
| Sediment feeders |  | Promax (Landmark)
| Shear box |  | PyLith (numerical software)
| Sieving device |  | QDYN (numerical software)
| Squeeze box |  | RMS (Roxar)
| Subduction box |  | Seiswork (Landmark)
| Thermomechanics apparatus |  | Structure from Motion (SfM) > Apero
| Triaxal tester |  | Structure from Motion (SfM) > Photoscan (Agisoft)
| Tsunami simulator |  | Structure from Motion (SfM) > Pix4d (Analist Group)
| Turbidity current simulator |  | Structure from Motion (SfM) > Python Photogrammetry Toolbox (PPT)
| Uniaxial tester |  | Structure from Motion (SfM) > MicMac
| Vice tester |  | Structure from Motion (SfM) > OpenMVS Open Multiple View Stereovision
| Viscometer |  | Structure from Motion (SfM) > Other SFM based software
| Wedge simulator |  | Structure from Motion (SfM) > Remake (Autodesk)
| Other |  | Structure from Motion (SfM) > 3DF Zephyr (3Dflow)
SLAMTEC
Solidworks
StereoScan (Agisoft)
Terrasync (Trimble)
TopPad (Topcon)
Visual Basic (Microsoft)
Visual Fortran (Compaq)
Visual Studio (Microsoft)
Other

## Material
Material
Air
Alumina Powder
Barium sulphate
Carbopol
Cement-Plaster
Clay
Flour
Flour > Rice
Foam rubber
Gelatine
Gelatine > Pig skin
Gelatine > K-caragean
Gelatine > Gellan gum
Gelatine > Xantan
Glass fragments
Glycerine
Golden syrup
Graphyte
Ignimbrite
Iron Powder
Microspheres
Microspheres > Glassy
Microspheres > Siliceus
Natrosol
Nitrogen
Paraffin
Plastic
Plasticine
Polycrystalline CaTiO3
Polytungstate
PVC rods
Pyrex
Rubber
Sand
Sand > Corundum Sand
Sand > Quartz Sand
Sand > Feldspar Sand
Silicon/Silly putty/PDMS
Sugar
Vegetable oil
Water
Water saturated paste
Other

## Measured property
Measured property
Bulk modulus
Cohesion
Density
Fracture toughness
Friction coefficient
Grain size distribution
Lame constant
Loss modulus
Maxwell relaxation time
Poisson ratio
P-wave velocity
Rate-state parameters
Rheological model
Shear modulus
Surface image
Surface roughness
Storage modulus
Stress exponent
S-wave velocity
Tensile strength
Viscosity
Yield stress
Young modulus
Other