## Analytical labs info
TCS Multi-scale laboratories: Analytical
1: Lab information
Lab information | Andalchron is a platform of advanced analytical services in petrology, geochemistry, and geochronology including: • The advanced petrological, microstructural, and chemical characterization of geological materials —including automatic particle characterization— by electron microscopy, micro-Raman, and micro-FTIR. • In situ U-Th-Pb geochronology by LA-ICP-MS of accessory minerals (zircon, monazite, rutile, titanite, etc.) in petrographic thin sections and mounts of mineral separates. • In situ analysis and imaging of trace elements of minerals in petrographic thin sections and mounts by LA-ICP-MS. • Analysis of radiogenic isotopes (Sr-Nd-Pb-Hf) in geological materials by MC-ICP-MS. The instruments available for microstructural characterization includes EDS-EBSD-CL-BSE Scanning Electron Microscope, and micro-Raman and micro-FTIR microscopes. For geochemical and geochronological services, Andalchron is equipped with an Agilent 8800 ICP-MS/MS linked to a CETAC G2 Analyte 193 laser ablation system with double-cup ablation cell. A MC-ICP-MS for the analysis of radiogenic (Sr-Nd-Pb-Hf) and non-conventional stable isotopes will be installed in 2019. Andalchron also hosts a suite of metal-free clean laboratories for the preparation of geological samples for isotope geochemistry and trace element analyses –class 100–10000 laboratory spaces— including a 95 m2 ultra-clean lab with full fume cupboards and six metal-free class 100 laminar flow clean cabinets for the chromatographic extraction, purification of chemical elements before isotopic measurements by MC-ICP-MS, and distillation of acids. Andalchron also hosts laboratories equipped perchloric-acid hood for ultra-clean acid digestion of geological materials. Andalchron is located in the Andalusian Institute of Earth Science (CSIC-IACT, Granada, Spain) and managed by the Petrology and Geochemistry department. For further information, contact the laboratory or visit the Andalchron webpage (www.andalchron.eu).
2: Practical info
RI name | ANDALCHRON
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Andalchron (CSIC-IACT, Spain)
Facility Name (if other)
Facility address (street + number) | Instituto Andaluz de Ciencias de la Tierra (IACT), Avenida de las Palmeras, 4
Facility address (postcode) | 18100
Facility address (city) | Armilla
Facility address (country) | Spain
Facility gpsLat (decimal degree) | 37.1406
Facility gpsLon (decimal degree) | -3.6166
Facility research field | Solid Earth Geochemistry
Facility website | www.andalchron.eu
Facility contact person (first name) | Carlos J.
Facility contact person (family name) | Garrido
Facility contact person ID | ORCID: 0000-0003-4357-3637; ResearchID: A-6249-2008; Scopus Author ID: 7005285844
Email of Facility contact person | carlos.garrido@csic.es
Affiliation of Facility contact person | CSIC-IACT, Spain
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
SEM, Scanning electron microscope | Variable Pressure | ZEISS | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | ZEISS EVO® MA 15 SEM equipped with BSE, SE and Cahtholuminscence. | 1
SEM-EBSD, Scanning electron microscope-electron backscatter diffraction |  | Oxford instrument | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | Oxford Instruments Nordlys-Nanao EBSD Detector in ZEISS EVO® MA 15 SEM. EBSD maps of full thin sections. | 1
SEM-EDS, Scanning electron microscope-energy dispersive X-ray spectrometry |  | Oxford instrument | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | Oxford Instruments X-Max 80 Detector (SDD) in ZEISS EVO® MA 15 SEM | 1
IA, Image analyser | integrated automated mineralogy and particle analysis by SEM | Oxford instrument | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | X-Max 80 Detector (SDD) in ZEISS EVO® MA 15 SEM. Mineral Liberation Analyses and Automatic Mineral Detection and Particle Characterization by SEM. Thin sections, mine tailings or particulate materials in mounts. | 1
ICP-MS, Inductively coupled plasma mass spectrometer | Triple Quadrupole ICP-MS/MS | AGILENT | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | Agilent 8800 ICP-MS/MS. Ultraclean analytical protocols for analysis of trace elements. A member of the GeoPT Proficency testing. | 1
LA-ICP-MS, Laser ablation inductively coupled plasma mass spectrometer | 193um Laser Ablation system with Two-volume ablaction cell coupled to ICP-MS/MS | Teledyne CETAC | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | Teledyne PHOTON MACHINES 193 ANALYTE EXCITE coupled to an AGILENT 8800 ICP-MS/MS. HelEx II tunable Tunable 2-Volume LA-ICP-MS Cell System. Trace elements in minerals and other inorganic solids. LA-ICP-MS mapping. A member of GeoProbe Proficency Testing. | 1
RAMANMICRO, Raman microspectrometer | micro-Raman | HORIBA | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu | HORIBA LabRAM High-Resoluiton (UV and NIR CDD) equipped with cooling-heating stage | 1
FTIR, Fourier transform infrared spectrometer | micro-FTIR microscope (to be installed in 2019) |  | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu |  | 1
MC-ICP-MS, Multicollector inductively coupled plasma mass spectrometer | LA-MC-ICP-MS (to be installed in 2019) |  | Carlos J. Garrido | carlos.garrido@csic.es | www.andalchron.eu |  | 1

## Lab names
Analogue modelling labs names
ANDALCHRON (CSIC-IACT, Spain)
Ar-Ar Geochronology laboratory (IGG-CNR, Italy)
Archeometry and microstratigraphic coring laboratory (IGG-CNR, Italy)
Cristallography and crystal chemistry laboratory (IGG-CNR, Italy)
Electron Microprobe (LNEG-UCTM, Portugal)
Electron Microprobe, XRD, FTIR and XRF (FCUL, Portugal)
Electron Microscopy Facilities (Utrecht University, The Netherlands)
Fission Track Laboratory (IGG-CNR, Italy)
Fluid geochemistry laboratory (IGG-CNR, Italy)
Geochronology and Isotope Geochemistry Facility-SGIker (Universidad del Pais Vasco, Spain)
Geochronology and Isotope Geochemistry (Universidad Complutense de Madrid (UCM), Spain)
IBERSIMS Facility (Universidad de Granada, Spain)
Laboratori analisi con microsonda eletrronica (IGG-CNR, Italy)
Laboratorio de Geocronología (Universidad de Cádiz, Spain)
Laboratorios Analíticos (IGME-Universidad de Zaragoza, Spain)
Laboratorios Analítícos de Geología (Universitat de Barcelona, Spain)
Laboratorios Analíticos de Geoquímica (Universidad de Oviedo, Spain)
Laboratory of Geochemistry labGEOTOP (CSIC-ICTJA, Spain)
Laboratory of Stable Isotopes and Noble Gas NUCLEUS (Universidad de Salamanca, Spain)
Laboratory of X-ray Diffraction (CSIC-ICTJA, Spain)
LCGM Laboratory for Characterization of Geological Materials (FCUP, Portugal)
Mass spectrometry la-icp laboratory (IGG-CNR, Italy)
PGG - Petrology, Geochemistry and Geochronology (CSIC-IACT, Spain)
Rare gases mass spectrometry laboratory (IGG-CNR, Italy)
Secondary Ion Mass Spectrometry (SIMS) Ion Microprobe Laboratory (IGG-CNR, Italy)
Stable Isotopes laboratory (IGG-CNR, Italy)
TIMS laboratories - Pisa Territorial Unit (IGG-CNR, Italy)
TIMS laboratories - Padova Territorial Unit (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment name
AAS, Atomic absorption spectrometer
ALPHA, Alpha counting spectrometer
ALPHA-ID, Alpha counting isotope dilution spectrometer
ANC, Anion chromatographer
CEAS, Cavity-enhanced laser absorption spectrometer
CHN, Carbon hydrogen nitrogen analyser
CHN-G, Carbon hydrogen nitrogen gas chromatographer
CHS, Carbon hydrogen sulphur elemental analyser
CNS, Carbon nitrogen sulphur analyser
COL, Colorimetric analyser
COUL, Coulometrical analyser
CRDS, Cavity ringdown spectrometer
CSA, Carbon sulphur analyser
DCP, Direct current plasma (further detail not provided) spectrometer
DI-IRMS, Dual inlet isotope ratio mass spectrometer
DROES, Direct reading optical emissions spectrometer
EA, Elemental analyser
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer (formerly EA-CF-IRMS code)
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer
EMP, Electron microprobe
ENAA, Epithermal neutron activation analyser
ES, Emission spectrometer
FIS, Fission track system
FL-ES, Flame emission spectrometer
FP, Film polarographer
FPHOT, Flame photometer
FTIR, Fourier transform infrared spectrometer
GAMMA, Gamma ray spectrometer
GC, Gas chromatographer
GC/C/IRMS, Gas chromatography combustion isotope ratio mass spectrometer
GIO, Gradient ion-chromatographer
HPLC, High-performance liquid chromatography system
HR-ICP-MS, High-resolution inductively coupled plasma mass spectrometer
IA, Image analyser
ICP, Inductively coupled plasma (further detail not provided) spectrometer
ICPAES, Inductively coupled plasma atomic emission spectrometer
ICP-MS, Inductively coupled plasma mass spectrometer
ICP-OES, Inductively coupled plasma optical emission spectrometer
IMP, Ion microprobe
INAA, Instrumental neutron activation analyser
INC, Ion chromatographer
IR-SP, Infra-red spectrometer
ISE, Ion sensitive electrode
IVA, Inversion volt-amperometer
LA, Laser ablation system
LAICP, Laser ablation inductively coupled plasma (further detail not provided)
LA-ICP-MS, Laser ablation inductively coupled plasma mass spectrometer
LA-MC-ICP-MS, Laser ablation multicollector inductively coupled plasma mass spectrometer
LAMICP, Laser ablation microprobe inductively coupled plasma mass spectrometer
LC/IRMS, Lliquid chromatography-isotope ratio mass spectrometer
MC-ICP-MS, Multicollector inductively coupled plasma mass spectrometer
MOSS, Mossbauer spectrometer
MS, Mass spectrometer
MTHER, Microthermometer
NAA, Neutron activation analyser
NCC, Neutron coincidence counter
NGA, Noble gases analyser
NG-C, Noble gases analyser- crushing
NG-LA, Noble gases analyser- laser-ablation
NG-SH, Noble gases analyser-furnace/step-heating
OES, Optical emission spectrometer
OPS, Optical spectrometer
PC, Point counter
PGNAA, Prompt-gamma neutron activation analyser
PMP, Proton microprobe
POT, Potentiometer
RAMANMICRO, Raman microspectrometer
RNAA, Radioanalytical neutron activation analyser
SEM, Scanning electron microscope
SEM-EBSD, Scanning electron microscope-electron backscatter diffraction
SEM-EDS, Scanning electron microscope-energy dispersive X-ray spectrometry
SIMS, Secondary ion mass spectrometer
SMA, Dupont solid's moisture analyser
SPEC, Spectrographic analyser
SP-PH, Spectrophotometer
SSMS, Spark source mass spectrometer
TC/EA-IRMS, High temperature conversion elemental analyser
TIMS, Thermal ionization mass spectrometer
TITR, Titration equipment
UV-ES, Ultraviolet emission spectrographer
VAC-F, Vacuum fusion
XANES, X-ray absorption near-edge structure spectrometer
XRD, X-ray diffraction spectrometer
XRF, X-ray fluorescence spectrometer
XRF-EDS, Energy-dispersive X-ray fluorescence spectrometer
Other