## Analytical labs info
TCS Multi-scale laboratories: Analytical
1: Lab information
Lab information | The Laboratory of Geochemical Microanalysis of IGG-CNR (Italy) provides an integrated system of expertise, instrumental facilities and analytical protocols, suitable to accurately determine both the elemental and isotopic composition at tens-of-microns-scale (LAM & SIMS & EMPA). Thanks to the presence of a SIMS and of several LA-ICP-MS probes, the analytical skills of the IGG-CNR of Pavia include: - Quantitative chemical micro-analysis (scale: 8-100 μm) of solid matrices to determine the concentration (from wt.% to ppb level) of Li, Be, B, Na, Mg, Al, Si, P, K, Ca, Sc, Ti, V, Mn, Fe, Co, Ni, Cu, Zn, Ga, Ge, As, Rb, Sr, Y, Zr, Nb, Mo, Ag, Cs, Ba, La, Ce, Pr, Nd, Sm, Eu, Gd, Tb, Dy, Ho, Er, Tm, Yb, Lu, Hf, Ta, Au, Bi, Th and U: detection limits typically at ppb-ppm; - Quantitative chemical micro-analysis (scale: 5-20 μm) of the content (from wt.% to tens of ppm) of volatile elements (H, F, Cl) in solid matrices; - Micro-analytical determination (at 10-60 μm scale) of the U-Th-Pb isotopic composition of zircons, monazites, titanites, rutiles for geochronological purposes; Research activity. Due to the strong analytical flexibility and the wide variety of expertise, the associated analytical laboratory of IGG-Pavia and Padova can provide an integrated multi-technique approach for the investigation of the physicochemical processes in all natural and synthetic systems which require the geochemical characterisation of mineral or inorganic phases, as well as the characterisation of the geochemical composition of glasses, melt inclusions and/or lavas while considering spatial compositional heterogeneity at micro and/or nano-scale. Although many applications have been developed for issues related to environmental sciences, human health, archaeometry (glass, ceramics, bricks, alloys) and industrial materials (glasses, alloys), the lab has a world-renown reputation for studies related to the Solid Earth Sciences, including extraterrestrial materials, among which we remind: • 1) Characterization of the chemical/physical parameters that rule the production, migration and emplacement of melts and fluids from mantle and crustal levels up to the surface, in all the geodynamic environments; • 2) Characterisation of mineral/fluid chemical exchanges in reactive processes; • 3) Quantification of mineral/liquid and mineral/mineral trace-element partition coefficients in both natural and synthetic systems, as well as characterization of their correct mechanisms of incorporation in minerals; • 4) Detection and quantification of light, trace and volatile elements in melt inclusions from volcanic materials; • 5) Quantification of H and volatile elements (F, Cl) on a wide range of concentrations, in a variety of matrices; • 6) U-Pb geochronology of geological processes, from crystallisation to cooling; • 7) Models for melt/fluid partitioning of light, volatiles and trace elements; • 9) Kinetics of cation ordering at controlled temperature; • 10) Geothermometry and geobarometry of minerals and rocks
2: Practical info
RI name | Istituto di Geoscienze e Georisorse(IGG)-CNR
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Laboratory of Geochemical Microanalysis - Pavia
Facility Name (if other)
Facility address (street + number) | Via Ferrata 1
Facility address (postcode) | 27100
Facility address (city) | Pavia
Facility address (country) | Italy
Facility gpsLat (decimal degree) | 45.3923
Facility gpsLon (decimal degree) | 11.8937
Facility research field | Solid Earth Geochemistry
Facility website | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/
Facility contact person (first name) | Alberto
Facility contact person (family name) | Zanetti
Facility contact person ID | ORCID ID: orcid.org/0000-0003-4818-8076; Scopus Author ID: 7005184720.
Email of Facility contact person | zanetti@igg.cnr.it
Affiliation of Facility contact person | IGG-CNR, Italy
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
|  |  | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, size, year of acquisition, purchase value |  | relevant papers referring to the equipment
ICP-MS, Inductively coupled plasma mass spectrometer |  | QQQ-ICP-MS Agilent Series 8900 | Antonio Langone | Antonio.Langone@igg.cnr.it | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/ | year of acquisition: 2018 | 1 | https://www.agilent.com/en/products/icp-ms/icp-ms-systems/8900-triple-quadrupole-icp-ms
ICP-MS, Inductively coupled plasma mass spectrometer |  | Q-ICP-MS PerkinElmerSCIEX DRC-e | Antonio Langone | Antonio.Langone@igg.cnr.it | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/ | years of acquistion: 2005 and 2015 | 2 | Zanetti et al. 2016, Lithos, 262, 58-74
HR-ICP-MS, High-resolution inductively coupled plasma mass spectrometer |  | HR-ICP-MS Thermofisher Scientific Element | Antonio Langone | Antonio.Langone@igg.cnr.it | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/ | year of acquisition: 1997 | 1 | Zanetti et al. 2016, Lithos, 262, 58-74
LA, Laser ablation system | ArF 193 nm Excimer Laser | ArF 193 nm Excimer Laser Geolas200 Microlas, Lambda Physik | Antonio Langone | Antonio.Langone@igg.cnr.it | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/ | year of acquisition: 2002 | 1 | Langone et al. 2017, Lithos, 284-285, 493-511
LA, Laser ablation system |  | Nd:YAG deep UV 213 nm (New Wave Research) | Antonio Langone | Antonio.Langone@igg.cnr.it | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/ | years of acquistion: 2015 | 1 | http://www.speciation.net/Database/Instruments/New-Wave-Research-Inc/UP213-deepUV-YAG-Laser-Ablation-System-;i240
LA, Laser ablation system |  | Nd:YAG Brilliant (Quantel) | Antonio Langone | Antonio.Langone@igg.cnr.it | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/mass-spectrometry-la-icp-laboratory/ | year of acquisition: 1997 | 1 | Zanetti et al. 2016, Lithos, 262, 58-74
SIMS |  | CAMECA IMF 4F |  |  | https://www.igg.cnr.it/en/laboratories/analytical-laboratories/secondary-ion-mass-spectrometry-sims-ion-microprobe-laboratory/ | year of acquisition: 1997 | 1 | Zanetti et al. 1999, CMP, 134, 107-122

## Lab names
Analogue modelling labs names
ANDALCHRON (CSIC-IACT, Spain)
Ar-Ar Geochronology laboratory (IGG-CNR, Italy)
Archeometry and microstratigraphic coring laboratory (IGG-CNR, Italy)
Cristallography and crystal chemistry laboratory (IGG-CNR, Italy)
Electron Microprobe (LNEG-UCTM, Portugal)
Electron Microprobe, XRD, FTIR and XRF (FCUL, Portugal)
Electron Microscopy Facilities (Utrecht University, The Netherlands)
Fission Track Laboratory (IGG-CNR, Italy)
Fluid geochemistry laboratory (IGG-CNR, Italy)
Geochronology and Isotope Geochemistry Facility-SGIker (Universidad del Pais Vasco, Spain)
Geochronology and Isotope Geochemistry (Universidad Complutense de Madrid (UCM), Spain)
IBERSIMS Facility (Universidad de Granada, Spain)
Laboratori analisi con microsonda eletrronica (IGG-CNR, Italy)
Laboratorio de Geocronología (Universidad de Cádiz, Spain)
Laboratorios Analíticos (IGME-Universidad de Zaragoza, Spain)
Laboratorios Analítícos de Geología (Universitat de Barcelona, Spain)
Laboratorios Analíticos de Geoquímica (Universidad de Oviedo, Spain)
Laboratory of Geochemistry labGEOTOP (CSIC-ICTJA, Spain)
Laboratory of Stable Isotopes and Noble Gas NUCLEUS (Universidad de Salamanca, Spain)
Laboratory of X-ray Diffraction (CSIC-ICTJA, Spain)
LCGM Laboratory for Characterization of Geological Materials (FCUP, Portugal)
Mass spectrometry la-icp laboratory (IGG-CNR, Italy)
PGG - Petrology, Geochemistry and Geochronology (CSIC-IACT, Spain)
Rare gases mass spectrometry laboratory (IGG-CNR, Italy)
Secondary Ion Mass Spectrometry (SIMS) Ion Microprobe Laboratory (IGG-CNR, Italy)
Stable Isotopes laboratory (IGG-CNR, Italy)
TIMS laboratories - Pisa Territorial Unit (IGG-CNR, Italy)
TIMS laboratories - Padova Territorial Unit (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment name
AAS, Atomic absorption spectrometer
ALPHA, Alpha counting spectrometer
ALPHA-ID, Alpha counting isotope dilution spectrometer
ANC, Anion chromatographer
CEAS, Cavity-enhanced laser absorption spectrometer
CHN, Carbon hydrogen nitrogen analyser
CHN-G, Carbon hydrogen nitrogen gas chromatographer
CHS, Carbon hydrogen sulphur elemental analyser
CNS, Carbon nitrogen sulphur analyser
COL, Colorimetric analyser
COUL, Coulometrical analyser
CRDS, Cavity ringdown spectrometer
CSA, Carbon sulphur analyser
DCP, Direct current plasma (further detail not provided) spectrometer
DI-IRMS, Dual inlet isotope ratio mass spectrometer
DROES, Direct reading optical emissions spectrometer
EA, Elemental analyser
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer (formerly EA-CF-IRMS code)
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer
EMP, Electron microprobe
ENAA, Epithermal neutron activation analyser
ES, Emission spectrometer
FIS, Fission track system
FL-ES, Flame emission spectrometer
FP, Film polarographer
FPHOT, Flame photometer
FTIR, Fourier transform infrared spectrometer
GAMMA, Gamma ray spectrometer
GC, Gas chromatographer
GC/C/IRMS, Gas chromatography combustion isotope ratio mass spectrometer
GIO, Gradient ion-chromatographer
HPLC, High-performance liquid chromatography system
HR-ICP-MS, High-resolution inductively coupled plasma mass spectrometer
IA, Image analyser
ICP, Inductively coupled plasma (further detail not provided) spectrometer
ICPAES, Inductively coupled plasma atomic emission spectrometer
ICP-MS, Inductively coupled plasma mass spectrometer
ICP-OES, Inductively coupled plasma optical emission spectrometer
IMP, Ion microprobe
INAA, Instrumental neutron activation analyser
INC, Ion chromatographer
IR-SP, Infra-red spectrometer
ISE, Ion sensitive electrode
IVA, Inversion volt-amperometer
LA, Laser ablation system
LAICP, Laser ablation inductively coupled plasma (further detail not provided)
LA-ICP-MS, Laser ablation inductively coupled plasma mass spectrometer
LA-MC-ICP-MS, Laser ablation multicollector inductively coupled plasma mass spectrometer
LAMICP, Laser ablation microprobe inductively coupled plasma mass spectrometer
LC/IRMS, Lliquid chromatography-isotope ratio mass spectrometer
MC-ICP-MS, Multicollector inductively coupled plasma mass spectrometer
MOSS, Mossbauer spectrometer
MS, Mass spectrometer
MTHER, Microthermometer
NAA, Neutron activation analyser
NCC, Neutron coincidence counter
NGA, Noble gases analyser
NG-C, Noble gases analyser- crushing
NG-LA, Noble gases analyser- laser-ablation
NG-SH, Noble gases analyser-furnace/step-heating
OES, Optical emission spectrometer
OPS, Optical spectrometer
PC, Point counter
PGNAA, Prompt-gamma neutron activation analyser
PMP, Proton microprobe
POT, Potentiometer
RAMANMICRO, Raman microspectrometer
RNAA, Radioanalytical neutron activation analyser
SEM, Scanning electron microscope
SEM-EBSD, Scanning electron microscope-electron backscatter diffraction
SEM-EDS, Scanning electron microscope-energy dispersive X-ray spectrometry
SIMS, Secondary ion mass spectrometer
SMA, Dupont solid's moisture analyser
SPEC, Spectrographic analyser
SP-PH, Spectrophotometer
SSMS, Spark source mass spectrometer
TC/EA-IRMS, High temperature conversion elemental analyser
TIMS, Thermal ionization mass spectrometer
TITR, Titration equipment
UV-ES, Ultraviolet emission spectrographer
VAC-F, Vacuum fusion
XANES, X-ray absorption near-edge structure spectrometer
XRD, X-ray diffraction spectrometer
XRF, X-ray fluorescence spectrometer
XRF-EDS, Energy-dispersive X-ray fluorescence spectrometer
Other