## Lab info
TCS Multi-scale laboratories: Analytical
1: Lab information
Lab information | The High Pressure-High Temperature Laboratory of the Istituto Nazionale di Geofisica e Vulcanologia of Rome (hereafter HPHT Lab) is a multidisciplinary facility originally founded in 2002. The HPHT Lab includes three areas of investigation: 1) experimental testing of natural and synthetic materials; 2) microanalytical and physical analyses; 3) analog experiments. Volcanology, petrology, mineralogy, seismology, and rock physics are the main, broad areas of research at the HPHT Lab. Concerning the experimental investigations, research in magma evolution and rheology, and on mantle petrology are carried out with high-pressure and high-temperature apparata, including furnaces, piston-cylinder, and multi-anvil devices, covering conditions from surface eruption of magma to middle mantle. The frictional properties of faults and rocks are investigated under a wide range of slip rates and dynamics and under variable boundary conditions using unique rotary shear apparatus and large-scale bi-axial press. In addition, rock physics/mechanics studies, from rock permeability to fracturing and degassing can also be investigated with the above apparata and with more classical devices. The analytical facilities include a Field-Emission Scanning Electron Microscope and an Electron Micro Probe Analyzer specifically tuned for natural rock analyses. Accessory to these are an helium pycnometer, particle size analyzer, sieves, and other basic instruments. The analog investigations are carried out in a specific area where ad-hoc, temporary set-ups are developed. Analog materials are characterized using a rheometer, and the experiments are recorded and analyzed using a range of visual documentations, spanning from time-lapse cameras to high-definition and high-speed camcorders. The analog laboratory focuses mostly on explosive volcanism and the related products and processes, including the formation and release of Taylor bubbles, pyroclast ejection during supersonic eruptions, and the sedimentation and aggregation of volcanic ash particles. The HPHT Lab also hosts and develops new systems for the in-situ study of explosive volcanic eruptions by combining high-speed, high-definition imaging in the visible and thermal infrared wavelengths with acoustic recording. Investigated processes cover the ejection of volcanic ash and bombs, their settling and potential hazard, the sources of volcanic sound, and shifting styles of explosive volcanic activity. The sharing of facilities and working space in between researchers with such a broad variety of backgrounds is a key component of the HPHT Lab, eventually leading to interdisciplinary exchange, facilitating the development of new projects, and ultimately promoting a stimulating research environment.
2: Practical info
RI name | name of institute, organisation, national consortium, international consortium….
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | HP-HT Laboratory of Experimental Volcanology and Geophysics (INGV, Italy)
Facility Name (if other) | Analytical lab
Facility address (street + number) | Via di Vigna Murata, 605
Facility address (postcode) | 00143
Facility address (city) | Rome
Facility address (country) | Italy
Facility gpsLat (decimal degree) | 41.8274
Facility gpsLon (decimal degree) | 12.5152
Facility research field | Solid Earth Geochemistry
Facility website | under construction
Facility contact person (first name) | Piergiorgio
Facility contact person (family name) | Scarlato
Facility contact person ID | https://orcid.org/0000-0003-1933-0192
Email of Facility contact person | piergiorgio.scarlato@ingv.it
Affiliation of Facility contact person | INGV, Italy
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References (optional)
|  |  | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, size, year of acquisition, purchase value |  | relevant papers referring to the equipment
EMP, Electron microprobe | Electron microprobe equipped with 5 WDS and 1 EDS | JEOL JXA-8200 | Manuela Nazzari |  |  | Combined EDS-WDS electron microprobe equipped with five wavelength-dispersive spectrometers. Secondary and backscattered electrons detector. Transmitted light under the optical microscope. | 1
SEM-EBSD, Scanning electron microscope-electron backscatter diffraction | Field Emission Scanning Electron Microscope equipped with EDS and BSE detectors | JEOL JSM-6500F | Manuela Nazzari |  |  | Minimum analytical beam size of 1,5 nm. The electron microscopy allows textural, morphological and chemical analyses of natural and synthetic materials up to 1,5 nm in size through an energy dispersive X-ray analyzer. A number of facilities like as image navigation, element mapping, particle analysis and sequential spectra acquisition are provided by means of specific software. | 1
SEM-EDS, Scanning electron microscope-energy dispersive X-ray spectrometry
Other | Samples and rock preparation equipment | vv |  |  |  | Coring, sawing, grinding, lathing, rectifying, lapping machines, precision balance, welder, drying oven, carbon coater semiautomatic polisher

## Lab names
Analogue modelling labs names
ANDALCHRON (CSIC-IACT, Spain)
Ar-Ar Geochronology laboratory (IGG-CNR, Italy)
Archeometry and microstratigraphic coring laboratory (IGG-CNR, Italy)
Cristallography and crystal chemistry laboratory (IGG-CNR, Italy)
Electron Microprobe (LNEG-UCTM, Portugal)
Electron Microprobe, XRD, FTIR and XRF (FCUL, Portugal)
Electron Microscopy Facilities (Utrecht University, The Netherlands)
Fission Track Laboratory (IGG-CNR, Italy)
Fluid geochemistry laboratory (IGG-CNR, Italy)
Geochronology and Isotope Geochemistry Facility-SGIker (Universidad del Pais Vasco, Spain)
Geochronology and Isotope Geochemistry (Universidad Complutense de Madrid (UCM), Spain)
HP-HT Laboratory of Experimental Volcanology and Geophysics (INGV, Italy)
IBERSIMS Facility (Universidad de Granada, Spain)
Laboratori analisi con microsonda eletrronica (IGG-CNR, Italy)
Laboratorio de Geocronología (Universidad de Cádiz, Spain)
Laboratorios Analíticos (IGME-Universidad de Zaragoza, Spain)
Laboratorios Analítícos de Geología (CCiT - Universitat de Barcelona, Spain)
Laboratorios Analíticos de Geoquímica (Universidad de Oviedo, Spain)
Laboratory of Geochemistry labGEOTOP (CSIC-ICTJA, Spain)
Laboratory of Stable Isotopes and Noble Gas NUCLEUS (Universidad de Salamanca, Spain)
Laboratory of X-ray Diffraction (CSIC-ICTJA, Spain)
LCGM Laboratory for Characterization of Geological Materials (FCUP, Portugal)
MAiMA Isòtops estables i Mineralogia (Universitat de Barcelona, Spain)
Mass spectrometry la-icp laboratory (IGG-CNR, Italy)
PGG - Petrology, Geochemistry and Geochronology (CSIC-IACT, Spain)
Potsdam Imaging and Spectral Analysis (PISA) Facility (GFZ, Germany)
Rare gases mass spectrometry laboratory (IGG-CNR, Italy)
Secondary Ion Mass Spectrometry (SIMS) Ion Microprobe Laboratory (IGG-CNR, Italy)
Stable Isotopes laboratory (IGG-CNR, Italy)
TIMS laboratories - Pisa Territorial Unit (IGG-CNR, Italy)
TIMS laboratories - Padova Territorial Unit (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-CEA-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
NIGGG-BAS, Bulgaria
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
EquipmentName
AAS, Atomic absorption spectrometer
ALPHA, Alpha counting spectrometer
ALPHA-ID, Alpha counting isotope dilution spectrometer
ANC, Anion chromatographer
CEAS, Cavity-enhanced laser absorption spectrometer
CHN, Carbon hydrogen nitrogen analyser
CHN-G, Carbon hydrogen nitrogen gas chromatographer
CHS, Carbon hydrogen sulphur elemental analyser
CL, Cathodoluminescence microscope
CNS, Carbon nitrogen sulphur analyser
COL, Colorimetric analyser
COUL, Coulometrical analyser
CRDS, Cavity ringdown spectrometer
CSA, Carbon sulphur analyser
DCP, Direct current plasma (further detail not provided) spectrometer
DI-IRMS, Dual inlet isotope ratio mass spectrometer
DROES, Direct reading optical emissions spectrometer
EA, Elemental analyser
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer (formerly EA-CF-IRMS code)
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer
EA-TC-IRMS, Elemental analyzer and thermal conversion continuous flow isotope ratio mass spectrometer
EMP, Electron microprobe
ENAA, Epithermal neutron activation analyser
ES, Emission spectrometer
Fluid inclusion heating/cooling stage
FIB, Focused ion beam
FIS, Fission track system
FL-ES, Flame emission spectrometer
FP, Film polarographer
FPHOT, Flame photometer
FTIR, Fourier transform infrared spectrometer
GAMMA, Gamma ray spectrometer
Gasbench II-IRMS, Isotope Ratio Mass Spectrometer
Gasbench-Precon-IRMS, Isotope Ratio Mass Spectrometer
GC, Gas chromatographer
GC/C/IRMS, Gas chromatography combustion isotope ratio mass spectrometer
GIO, Gradient ion-chromatographer
HPLC, High-performance liquid chromatography system
HPLC/GC-IRMS, High preformance liquid chromatography/gas chromatography-continuous flow isotope ratio mass spectrometer
HR-ICP-MS, High-resolution inductively coupled plasma mass spectrometer
IA, Image analyser
ICP, Inductively coupled plasma (further detail not provided) spectrometer
ICPAES, Inductively coupled plasma atomic emission spectrometer
ICP-MS, Inductively coupled plasma mass spectrometer
ICP-OES, Inductively coupled plasma optical emission spectrometer
IMP, Ion microprobe
INAA, Instrumental neutron activation analyser
INC, Ion chromatographer
Induction Magnetometer
IR-SP, Infra-red spectrometer
ISE, Ion sensitive electrode
IVA, Inversion volt-amperometer
LA, Laser ablation system
LAICP, Laser ablation inductively coupled plasma (further detail not provided)
LA-ICP-MS, Laser ablation inductively coupled plasma mass spectrometer
LA-MC-ICP-MS, Laser ablation multicollector inductively coupled plasma mass spectrometer
LAMICP, Laser ablation microprobe inductively coupled plasma mass spectrometer
LC/IRMS, Lliquid chromatography-isotope ratio mass spectrometer
MC-ICP-MS, Multicollector inductively coupled plasma mass spectrometer
MC-NG-MS, Multicollector noble gas mass spectrometer
MOSS, Mossbauer spectrometer
MS, Mass spectrometer
MTHER, Microthermometer
NAA, Neutron activation analyser
NCC, Neutron coincidence counter
NGA, Noble gases analyser
NG-C, Noble gases analyser- crushing
NG-LA, Noble gases analyser- laser-ablation
NG-SH, Noble gases analyser-furnace/step-heating
OES, Optical emission spectrometer
OPS, Optical spectrometer
PC, Point counter
PGNAA, Prompt-gamma neutron activation analyser
PMP, Proton microprobe
POT, Potentiometer
RAMANMICRO, Raman microspectrometer
RNAA, Radioanalytical neutron activation analyser
SEM, Scanning electron microscope
SEM-CL, Scanning electron microscope-cathodoluminescence
SEM-EBSD, Scanning electron microscope-electron backscatter diffraction
SEM-EDS, Scanning electron microscope-energy dispersive X-ray spectrometry
SHRIMP, Sensitive High-Resolution Ion Microprobe
SIMS, Secondary ion mass spectrometer
SMA, Dupont solid's moisture analyser
SPEC, Spectrographic analyser
SP-PH, Spectrophotometer
SSMS, Spark source mass spectrometer
TC/EA-IRMS, High temperature conversion elemental analyser
TEM, Transmission electron microscope
TIMS, Thermal ionization mass spectrometer
TITR, Titration equipment
UV-ES, Ultraviolet emission spectrographer
VAC-F, Vacuum fusion
XANES, X-ray absorption near-edge structure spectrometer
XRD, X-ray diffraction spectrometer
XRF, X-ray fluorescence spectrometer
XRF-EDS, Energy-dispersive X-ray fluorescence spectrometer
Other