## Analytical labs info
TCS Multi-scale laboratories: Analytical
1: Lab information
Lab information | The Facility carries out elemental and isotopic analyses of natural and synthetic products for R+D+i activities in public and private institutions The Facility is equipped for: Analysis of radiogenic and stable isotopes • Thermal ionization mass spectrometer (TIMS) Finnigan-Spectromat MAT262 RPQ+, with 8 Faraday cups equipped with 100 Gigaohms and 1 Teraohms resistors, and 2 SEM. • Multi collector, high-resolution inductively coupled mass spectrometer (MC-ICP-MS) Neptune, with dry plasma and double desolvation (Apex+Spiro) sample introduction system. Elemental analysis • Inductively coupled plasma source atomic emission spectrometer (ICP-AES) Optima 8300 • Quadrupole inductively coupled plasma source mass spectrometers (Q-ICP-MS) XSeries 2 and iCAP Qc, with collision cell, FAST system for sample uptake, gas dilution and ion exchange kits for speciation (As, Se, Cr) Elemental and isotopic microanalysis • UP213 (New Wave) laser ablation (LA) system for microanalysis of solid samples Isotopic analyses of dissolved samples by TIMS and MC-ICP-MS Specific protocols for geochemistry and geochronology: Isotopic ratios measured for geochemical characterisation: 87Sr/86Sr δ88Sr (88Sr/86Sr) Pb/Pb Isotopic ratios and element concentration for radiometric age determinations of whole rock or mineral concentrates: Rb-Sr Sm-Nd Lu-Hf Isotopic microanalysis of solid samples Laser ablation (LA) coupled to Q-ICP-MS and MC-ICP-MS for the analysis of different isotopic systems, either for dating or geochemical characterization purposes: U-Th-Pb Hf/Hf Sr/Sr Li/Li B/B Fe/Fe Elemental analyses • Methods designed for multielemental analyses including REE and HFSE • Appropriate CRMs from international suppliers (NIST, USGS, JSG, IRMM, IAEA, ...) for a wide range of sample types Analysis in dissolution by ICP-OES and Q-ICP-MS • Sample preparation is adapted to each requirement: fusion-dissolution or different acid digestions • Calibration protocols adapted to different sample types Microanalysis of solid samples by LA-Q-ICP-MS • Analyses on petrographic thin sections or epoxy mounts • Simultaneous analysis of a large range of trace elements Contact Scientific-Technical Head of the Facility: Dr. José Ignacio Gil Ibarguchi (josei.gil@ehu.es) Technical staff: Elemental and isotopic analysis in solution and solid samples (ICP-OES, Q-ICP-MS, MC-ICP-MS, LA): Dr. Sonia García deMadinabeitia (sonia.gdm@ehu.es) Isotopic analysis in solution by TIMS and MC-ICP-MS: Dr. Javier Rodríguez Aller (javier.rodrigueza@ehu.eus) Internet: http://www.ehu.es/SGIker/es/ibercron
2: Practical info
RI name | Universidad del Pais Vasco UPV/EHU
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Geochronology and Isotope Geochemistry Facility-SGIker (Universidad del Pais Vasco, Spain)
Facility Name (if other)
Facility address (street + number) | Sarriena
Facility address (postcode) | 48940
Facility address (city) | Leioa
Facility address (country) | Spain
Facility gpsLat (decimal degree) | 43.3294
Facility gpsLon (decimal degree) | -2.9688
Facility research field | Solid Earth Geochemistry
Facility website | https://www.ehu.eus/en/web/sgiker/geokronologia-eta-geokimika-isotopikoa-aurkezpena
Facility contact person (first name) | José Ignacio
Facility contact person (family name) | Gil Ibarguchi
Facility contact person ID | ORCID 0000-0003-0279-5065, ResearcherID K-8158-2014
Email of Facility contact person | josei.gil@ehu.es
Affiliation of Facility contact person | Universidad del Pais Vasco, Spain
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
ICP-MS, Inductively coupled plasma mass spectrometer |  | Thermo Scientific |  |  |  | Thermo iCAP Qc | 1
ICP-OES, Inductively coupled plasma optical emission spectrometer |  | Perkin Elmer |  |  |  | Perkin Elmer Optima 8000 | 1
LA, Laser ablation system |  | New Wave |  |  |  | New Wave UP213 | 1
MC-ICP-MS, Multicollector inductively coupled plasma mass spectrometer |  | Thermo Scientific |  |  |  | Thermo Neptune | 1
TIMS, Thermal ionization mass spectrometer |  | Finnigan |  |  |  | Finnigan MAT262 | 1

## Lab names
Analogue modelling labs names
ANDALCHRON (CSIC-IACT, Spain)
Ar-Ar Geochronology laboratory (IGG-CNR, Italy)
Archeometry and microstratigraphic coring laboratory (IGG-CNR, Italy)
Cristallography and crystal chemistry laboratory (IGG-CNR, Italy)
Electron Microprobe (LNEG-UCTM, Portugal)
Electron Microprobe, XRD, FTIR and XRF (FCUL, Portugal)
Electron Microscopy Facilities (Utrecht University, The Netherlands)
Fission Track Laboratory (IGG-CNR, Italy)
Fluid geochemistry laboratory (IGG-CNR, Italy)
Geochronology and Isotope Geochemistry Facility-SGIker (Universidad del Pais Vasco, Spain)
Geochronology and Isotope Geochemistry (Universidad Complutense de Madrid (UCM), Spain)
IBERSIMS Facility (Universidad de Granada, Spain)
Laboratori analisi con microsonda eletrronica (IGG-CNR, Italy)
Laboratorio de Geocronología (Universidad de Cádiz, Spain)
Laboratorios Analíticos (IGME-Universidad de Zaragoza, Spain)
Laboratorios Analítícos de Geología (Universitat de Barcelona, Spain)
Laboratorios Analíticos de Geoquímica (Universidad de Oviedo, Spain)
Laboratory of Geochemistry labGEOTOP (CSIC-ICTJA, Spain)
Laboratory of Stable Isotopes and Noble Gas NUCLEUS (Universidad de Salamanca, Spain)
Laboratory of X-ray Diffraction (CSIC-ICTJA, Spain)
LCGM Laboratory for Characterization of Geological Materials (FCUP, Portugal)
Mass spectrometry la-icp laboratory (IGG-CNR, Italy)
PGG - Petrology, Geochemistry and Geochronology (CSIC-IACT, Spain)
Rare gases mass spectrometry laboratory (IGG-CNR, Italy)
Secondary Ion Mass Spectrometry (SIMS) Ion Microprobe Laboratory (IGG-CNR, Italy)
Stable Isotopes laboratory (IGG-CNR, Italy)
TIMS laboratories - Pisa Territorial Unit (IGG-CNR, Italy)
TIMS laboratories - Padova Territorial Unit (IGG-CNR, Italy)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment name
AAS, Atomic absorption spectrometer
ALPHA, Alpha counting spectrometer
ALPHA-ID, Alpha counting isotope dilution spectrometer
ANC, Anion chromatographer
CEAS, Cavity-enhanced laser absorption spectrometer
CHN, Carbon hydrogen nitrogen analyser
CHN-G, Carbon hydrogen nitrogen gas chromatographer
CHS, Carbon hydrogen sulphur elemental analyser
CNS, Carbon nitrogen sulphur analyser
COL, Colorimetric analyser
COUL, Coulometrical analyser
CRDS, Cavity ringdown spectrometer
CSA, Carbon sulphur analyser
DCP, Direct current plasma (further detail not provided) spectrometer
DI-IRMS, Dual inlet isotope ratio mass spectrometer
DROES, Direct reading optical emissions spectrometer
EA, Elemental analyser
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer (formerly EA-CF-IRMS code)
EA-IRMS, Elemental analyser continuous-flow isotope ratio mass spectrometer
EMP, Electron microprobe
ENAA, Epithermal neutron activation analyser
ES, Emission spectrometer
FIS, Fission track system
FL-ES, Flame emission spectrometer
FP, Film polarographer
FPHOT, Flame photometer
FTIR, Fourier transform infrared spectrometer
GAMMA, Gamma ray spectrometer
GC, Gas chromatographer
GC/C/IRMS, Gas chromatography combustion isotope ratio mass spectrometer
GIO, Gradient ion-chromatographer
HPLC, High-performance liquid chromatography system
HR-ICP-MS, High-resolution inductively coupled plasma mass spectrometer
IA, Image analyser
ICP, Inductively coupled plasma (further detail not provided) spectrometer
ICPAES, Inductively coupled plasma atomic emission spectrometer
ICP-MS, Inductively coupled plasma mass spectrometer
ICP-OES, Inductively coupled plasma optical emission spectrometer
IMP, Ion microprobe
INAA, Instrumental neutron activation analyser
INC, Ion chromatographer
IR-SP, Infra-red spectrometer
ISE, Ion sensitive electrode
IVA, Inversion volt-amperometer
LA, Laser ablation system
LAICP, Laser ablation inductively coupled plasma (further detail not provided)
LA-ICP-MS, Laser ablation inductively coupled plasma mass spectrometer
LA-MC-ICP-MS, Laser ablation multicollector inductively coupled plasma mass spectrometer
LAMICP, Laser ablation microprobe inductively coupled plasma mass spectrometer
LC/IRMS, Lliquid chromatography-isotope ratio mass spectrometer
MC-ICP-MS, Multicollector inductively coupled plasma mass spectrometer
MOSS, Mossbauer spectrometer
MS, Mass spectrometer
MTHER, Microthermometer
NAA, Neutron activation analyser
NCC, Neutron coincidence counter
NGA, Noble gases analyser
NG-C, Noble gases analyser- crushing
NG-LA, Noble gases analyser- laser-ablation
NG-SH, Noble gases analyser-furnace/step-heating
OES, Optical emission spectrometer
OPS, Optical spectrometer
PC, Point counter
PGNAA, Prompt-gamma neutron activation analyser
PMP, Proton microprobe
POT, Potentiometer
RAMANMICRO, Raman microspectrometer
RNAA, Radioanalytical neutron activation analyser
SEM, Scanning electron microscope
SEM-EBSD, Scanning electron microscope-electron backscatter diffraction
SEM-EDS, Scanning electron microscope-energy dispersive X-ray spectrometry
SIMS, Secondary ion mass spectrometer
SMA, Dupont solid's moisture analyser
SPEC, Spectrographic analyser
SP-PH, Spectrophotometer
SSMS, Spark source mass spectrometer
TC/EA-IRMS, High temperature conversion elemental analyser
TIMS, Thermal ionization mass spectrometer
TITR, Titration equipment
UV-ES, Ultraviolet emission spectrographer
VAC-F, Vacuum fusion
XANES, X-ray absorption near-edge structure spectrometer
XRD, X-ray diffraction spectrometer
XRF, X-ray fluorescence spectrometer
XRF-EDS, Energy-dispersive X-ray fluorescence spectrometer
Other