## Paleomagnetism lab info
TCS Multi-scale laboratories: Paleomagnetism
1: Lab information
Lab information | The Paleomagnetic Laboratory of Barcelona was founded in 1987. It resulted from an agreement reached between the "Consejo Superior de Investigaciones Científicas" (CSIC) and the Catalonian Geological Service, which in that moment was attached to the "Departament de Política Territorial i Obres Públiques" of the Generalitat de Catalunya. Nowadays, the laboratory depends on the CCiTUB (University of Barcelona) and the CSIC. It is located in the Institute of Earth Sciences "Jaume Almera", a building property of the CSIC in the University Area. The laboratory provides technical support to research groups working on several research topics within the Earth Sciences, among them: Magnetostratigraphic dating of sedimentary sequences and correlation with their fossil and paleoenvironmental record. Paleomagnetism applied to the study of orogenic belts and plate tectonics. Archaeomagnetic dating of archaeological remains. Environmental magnetic studies aimed to unravel paleoenvironmental and climatic variations in the sedimentary record The laboratory offers two modalities of measurements: either conducted by the technical staff or a self-service use of facilities. During self-service measurements technical staff trains the user on the use of the equipment and provides supervision during the analyses. For more information, please visit: http://www.ub.edu/paleomag
2: Practical info
RI name | CCiTUB - ICTJA CSIC
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Laboratory of Paleomagnetism (CSIC-ICTJA and Universitat de Barcelona, Spain)
Facility Name (if other)
Facility address (street + number) | C/ Lluis Solé i Sabarís s/n
Facility address (postcode) | 08028
Facility address (city) | Barcelona
Facility address (country) | Spain
Facility gpsLat (decimal degree) | 41.38
Facility gpsLon (decimal degree) | 2.12
Facility research field | Paleomagnetism
Facility website | http://www.ub.edu/paleomag/
Facility contact person (first name) | Elisabet
Facility contact person (family name) | Beamud
Facility contact person ID | ResearcherID: D-9750-2014 ; ORCID: 0000-0003-3158-2966
Email of Facility contact person | bbeamud@ictja.csic.es
Affiliation of Facility contact person | Universitat de Barcelona, Spain
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment group | Equipment name | Equipment name (if 'other' is selected) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Rock_Magnetometer | Cryogenic | 2G cryogenic magnetometer |  | 2G Enterprises | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, calibration parameters, year of acquisition, purchase value |  | relevant papers referring to the equipment
Rock_Magnetometer | Spinner | AGICO spinner magnetometer JR-6 |  | AGICO
De_Magnetizer | AF_Demagnetizer | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM |  | ASC Scientific
De_Magnetizer | Thermal_Demagnetizer | ASC Scientific thermal demagnetizer, absolute paleointensity |  | ASC Scientific
De_Magnetizer | Thermal_Demagnetizer | MMTD80 thermal demagnetizer |  | Magnetic Measurements
De_Magnetizer | Thermal_Demagnetizer | Schonstedt TSD-1 thermal demagnetizer |  | Schonstedt
De_Magnetizer | AF_Demagnetizer | Schonstedt GSD-5 AF demagnetizer |  | Schonstedt
Rock_Magnetism | Susceptibility_Meter | AGICO Kappabridge KLY2 |  | AGICO
De_Magnetizer | IRM_Acquisition | ASC IM10-30 pulse magnetizer, 4 coils |  | ASC Scientific
In the section below please specify the information about mausurement type performed by the lab in different rows
Measurement type | Measurement group | Measurement name | Measured name (if 'other' is selected) | Measured type specifics and comments | References
Remanent_Magnetisation | Demagnetization | AF demagnetization |  |  | Muñoz et al (2013) Tectonics 32, 1142-1175
Remanent_Magnetisation | Demagnetization | Thermal demagnetisation |  |  | Beamud et al (2011) Basin Research 23 (3), 309-331; Muñoz et al (2013) Tectonics 32, 1142-1175
Magnetic_Susceptibility | Susceptibility | Bulk magnetic susceptibility |  |  | Ortega et al (2018) Archaeological and Anthropological Sciences, 10 (6), 1329-1346
Magnetic_Susceptibility | Anisotropy | Anisotropy of magnetic susceptibility |  |  | Soto et al (2017) Terra Nova 29 (3) 191-201

## Lab names
LabNames
Archeomagnetism Laboratory (CENIEH Burgos, Spain)
Group of Magnetic Applications (Universitat Autònoma de Barcelona (UAB), Spain)
Laboratory for Environmental Magnetism (KMI, Belgium)
Laboratory of AMS (Paleomagnetism) and Geophysical Prospection (IGME-Universidad de Zaragoza, Spain)
Laboratory of Paleomagnetism (CSIC-ICTJA and Universitat de Barcelona, Spain)
Laboratory of Paleomagnetism (CSIC-IPNA, Spain)
Laboratory of Paleomagnetism (Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain)
Laboratory of Paleomagnetism (Universidad de Vigo, Spain)
Paleomagnetic and Rock Magnetic Laboratory (Universidad de Burgos, Spain)
Paleomagnetic Laboratory (INGV, Italy)
Paleomagnetic Laboratory (NIGGG - BAS, Bulgaria)
Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Paleomagnetic Laboratory Fort Hoofddijk (Utrecht University, The Netherlands)
Paléomagnétisme CEREGE Aix en Provence (CNRS-Aix Marseille University, France)
Paléomagnétisme IPG Paris (CNRS-Sorbonne Paris Cité University, France)
Paléomagnétisme LSCE Gif sur Yvette (CNRS-Versailles St Quentin University, France)
Paléomagnétisme Géosciences Environnement (CNRS-Toulouse University, France)
Paléomagnétisme Géosciences Montpellier (CNRS-Montpellier University, France)
Paléomagnétisme Géosciences Rennes (CNRS-Rennes 1 University, France)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
NIGGG-BAS, Bulgaria
OGS-National Institute of Oceanography and Applied Geophysics, and University of Trieste
Royal Meteorological Institute (KMI), Belgium
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment_Type
Controlled_Field_Area | Controlled_Field_Area |  |  | De_Magnetizer |  |  | Field_Samples |  |  | Rock_Magnetism |  |  | Rock_Magnetometer
De_Magnetizer | Equipment_Group |  | Equipment_Name | Equipment_Group | Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Group | Equipment_Name | Equipment_Group | Equipment_Group | Equipment_Name
Field_Samples | Shielded_Room | Shielded_Room | In-house design | AF_Demagnetizer | AF_Demagnetizer | 2G in-line AF degaussing | Sample_Preparation | Sample_Preparation | Analysette 3 PRO sieve | Microscope | Microscope | AFM/MFM microscope (Veeco Nanoscope IIIa) | Astatic | Astatic | Other
Rock_Magnetism | Helmoltz_Coils |  | Lodestar Magnetics | Thermal_Demagnetizer |  | AGICO AF demagnetizer LDA-3A | Portable_Magnetometer |  | Franz magnetic barrier separator LB-1 | Magneto-Optic_Kerr_Effect |  | Other | Cryogenic | Cryogenic | 2G cryogenic magnetometer
Rock_Magnetometer | Other |  | Mu-metal chamber | ARM_Acquisition |  | AGICO AF demagnetizer LDA-5 (up to 200 mT) | Field_Equipment |  | Magnetic extraction system in aqueous phase | Coercitivity_Spectrometer | Magneto-Optic_Kerr_Effect | Durham NanoMOKE3 (magneto-optic Kerr effect) | Spinner |  | 2G cryogenic magnetometer discrete samples
|  |  | Soft-iron chamber | IRM_Acquisition |  | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM | Other |  | MF306 muffle furnace | Variable_Field_Translation_Balance |  | Other | Vibrating |  | 2G cryogenic magnetometer long core
|  |  | Soudupin | TRM _Acquisition |  | Molspin AF-demagnetizer |  |  | Pulverisette 6 mill | Hysteresis_Properties | Coercitivity_Spectrometer | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) | Other |  | 2G SQUID magnetometer
|  |  | Other | Other |  | Schonstedt GSD-1 AF demagnetizer |  |  | Pycnometer | Susceptibility_Meter |  | Mössbauer spectrometer |  |  | Other
|  | Helmoltz_Coils | Magnetic Measurements active shielding |  |  | Schonstedt GSD-5 AF demagnetizer |  |  | Sigma 2-6 centrifuge | Other |  | Other |  | Spinner | AGICO spinner magnetometer JR-5
|  |  | Magnetic Measurements low field cage |  |  | Other |  |  | Other |  | Variable_Field_Translation_Balance | Magnetic Measurements variable field translation balance |  |  | AGICO spinner magnetometer JR-6
|  |  | Self-compensating Helmoth coils |  | Thermal_Demagnetizer | ASC Scientific thermal demagnetizer, absolute paleointensity |  | Portable_Magnetometer | Bartington Mag-01H single axis fluxgate |  |  | Modified horizontal translation Curie balance |  |  | Molspin Minispin
|  |  | Other |  |  | ASC Scientific thermal demagnetizer, dual-chamber TD48-DC |  |  | GEM systems Overhauser |  |  | Other |  |  | Molspin spinner
|  | Other | Other |  |  | ASC Scientific thermal demagnetizer, single chamber |  |  | Other |  | Hysteresis_Properties | MicroSense VSM with temperature control between 77-1000 K |  |  | Other
[6 empty] | MMTD80 thermal demagnetizer |  | Field_Equipment | Marcrist DDM3-230 diamond core drill |  |  | Molspin VSM |  | Vibrating | One-axis vibrating magnetometer
[6 empty] | MMTDSC super-cooled thermal demagnetizer |  |  | Portable rock drill MMPRD |  |  | Princeton Micromag 2900/3900 AGM/VSM |  |  | Tri-axial vibrating magnetometer
[6 empty] | Pyrox Scientific thermal demagnetizer |  |  | Other |  |  | Princeton Micromag 2900/3900 AGM/VSM with cryostat |  |  | Other
[6 empty] | Schonstedt TSD-1 thermal demagnetizer |  | Other | Other |  |  | Princeton Micromag 2900/3900 AGM/VSM with cryostat and oven |  | Other | Other
[6 empty] | Other | [5 empty] | Quantum Design MPMS 3
[5 empty] | ARM_Acquisition | 2G in-line ARM device | [5 empty] | Quantum Design MPMS 55
[6 empty] | AGICO AMU-1A anhysteretic magnetizer | [5 empty] | Quantum Design MPMS XL(-5)
[6 empty] | ASC DTech2000 in-line ARM and pARM devices | [5 empty] | Quantum Design PPMS
[6 empty] | Molspin in-line ARM attachment | [5 empty] | Quantum Design PPMS (9T and 14T)
[6 empty] | Other | [5 empty] | Other
[5 empty] | IRM_Acquisition | 2G in-line IRM device |  |  |  |  | Susceptibility_Meter | 2G in-line MS2C susceptibility meter
[6 empty] | 2G pulse magnetizer | [5 empty] | AGICO CS2 furnace
[6 empty] | ASC IM10-30 pulse magnetizer, 2 coils | [5 empty] | AGICO CS3 furnace
[6 empty] | ASC IM10-30 pulse magnetizer, 4 coils | [5 empty] | AGICO CS-L cooler
[6 empty] | M2T-1 pulse magnetizer | [5 empty] | AGICO Kappabridge KLY2
[6 empty] | Magnetic Measurements pulse magnetizer | [5 empty] | AGICO Kappabridge KLY3
[6 empty] | MMPM10 pulse magnetizer | [5 empty] | AGICO Kappabridge KLY4
[6 empty] | MMPM9 pulse magnetizer | [5 empty] | AGICO Kappabridge KLY5
[6 empty] | Other | [5 empty] | AGICO Kappabridge MFK1
[5 empty] | TRM _Acquisition | TRM acquisition in air/vacuum | [5 empty] | Bartington magnetic susceptibility meter
[6 empty] | Other | [5 empty] | Custom-build
[5 empty] | Other | Other | [5 empty] | GF Instruments PMG-1 GF Proton
GF Instruments SM-20
GF Instruments SM-30
SI2B susceptibility meter
TerraPlus KT-10
ZH Instruments SM-400
Other
[11 empty] | Other | Other

## Measurement type
Measurement_Type
Magnetic_Susceptibility | Magnetic_Susceptibility |  |  | Remanent_Magnetisation |  |  | Magnetic_Properties
Remanent_Magnetisation | Measurement_Group | Measurement_Group | Measurement_Name | Measurement_Group | Measurement_Group | Measurement_Name | Measurement_Group | Measurement_Group | Measurement_Name
Magnetic_Properties | Susceptibility | Susceptibility | Bulk magnetic susceptibility | Paleointensity | Paleointensity | Absolute paleointensity | Hysteresis_Curves | Hysteresis_Curves | Hysteresis parameters
| Anisotropy |  | Field dependence magnetic susceptibility | Demagnetization |  | Relative paleointensity | FORC |  | (Backfield) hysteresis curves
| Other |  | Frequency dependence magnetic susceptibility | Remanent_Magnetisation_ |  | Other | Thermomagnetic_Curves |  | Other
|  |  | Temperature dependence magnetic susceptibility | Anisotropy_ | Demagnetization | AF demagnetization | Other | FORC | FORC
|  |  | Other | Other |  | Thermal demagnetisation |  |  | Other
|  | Anisotropy | Anisotropy of magnetic susceptibility |  |  | Other |  | Thermomagnetic_Curves | High field thermomagnetic curves
|  |  | Anisotropy of magnetic susceptibility at low temperature |  | Remanent_Magnetisation_ | Anhysteretic remanent magnetisation |  |  | Other
|  |  | Anisotropy of magnetic susceptibility at room temperature |  |  | Isothermal remanent magnetisation |  | Other | Other
|  |  | Other |  |  | Natural remanent magnetisation
|  | Other | Other |  |  | Other
[5 empty] | Anisotropy_ | Anisotropy of anhysteretic remanent magnetisation
Anisotropy of isothermal remanent magnetisation
Natural anisotropy of remanent magnetisation
Other
[5 empty] | Other | Other