## Paleomagnetism lab info
TCS Multi-scale laboratories: Paleomagnetism
1: Lab information
Lab information | Interpreting magnetic properties of natural samples is a complex challenge. In contrast to artificial samples, natural ones consist almost always of several magnetic mineral species, evidence multimodal grain size distributions, different shapes and compositions. Measured bulk magnetic properties represent therefore a mixture of individual magnetic components, which one aims to decipher and to quantify. Proper interpretation is therefore only possible by applying a broad spectrum of experimental techniques requiring an appropriate technology. We follow this multi-experimental approach on the one hand to characterise carriers of natural remanent magnetisation. This concerns for instance reliability assessment of palaeointensity determinations and palaeomagnetic directions, necessary for our research in magnetostratigraphy, archaeomagnetism and reconstruction of palaeosecular variation. On the other hand, we exploit this approach for characterisation and interpretation of Quaternary sedimentary sequences, Devonian marine carbonate platforms and archaeological as well as polluted environments. At national level we are tightly linked with the archaeological community and the Belgian research landscape. At international level we are networked with communities dedicated to research in magnetic nanoparticles, standardisation of magnetic properties, archaeometry and palaeomagnetism. We are part of national and European networks such as for instance national cooperation conventions in archaeology, COST Actions TD1402, CA17131 and the European Plate Observing System (EPOS). In 2016, we hosted the 15th Castle Meeting “New Trends on Paleo, Rock and Environmental Magnetism” in Dinant and organised a pre-meeting short course for students on rock magnetism. Our laboratory facility consists of three units: 1. The sample preparation unit is equipped with necessary devices for preparation of archaeological geological, soil samples and ferrofluid suspensions including treatments such as chemical extractions, hardening, magnetic separation and removal of organic matter. 2. The remanence unit features necessary devices for acquisition, demagnetisation and measurement of the most common types of remanent magnetisation such as anhysteretic, crystallisation, isothermal, natural, post-depositional and thermo- and viscous remanence. These devices are used for archaeomagnetic dating, magnetostratigraphy and analysis of remanence carriers. 3. The characterisation unit is endowed with typical instruments for field and laboratory measurements of magnetic properties, as well as with devices for non-magnetic characterisation such as grain density, pH and porosity. In addition, a highly sophisticated measurement system enables magnetic characterisation of samples over a wide range of fields and temperatures and at several AC-field frequencies. Please find further information here: http://dourbes.meteo.be/en/research/environmentalmagnetism
2: Practical info
RI name | Royal Meteorological Institute of Belgium
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name
Facility Name (if other) | Laboratory for Environmental Magnetism
Facility address (street + number) | Geophysical Centre, rue du Centre Physique 4
Facility address (postcode) | B-5670
Facility address (city) | Dourbes (Viroinval)
Facility address (country) | Belgium
Facility gpsLat (decimal degree) | 50.0966
Facility gpsLon (decimal degree) | 4.5877
Facility research field | Paleomagnetism
Facility website | http://dourbes.meteo.be/en/research/environmentalmagnetism
Facility contact person (first name) | Simo
Facility contact person (family name) | Spassov
Facility contact person ID | https://orcid.org/0000-0002-3365-935X ; Scopus Author ID: 6701611100 ; Publons 1582953
Email of Facility contact person | simo@meteo.be
Affiliation of Facility contact person
Affiliation of Facility contact person (if other) | Royal Meteorological Institute of Belgium
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Demagnetizer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device |  | 2G Enterprises | only if different from facility contact person | only if different from facility contact person | only if different from facility website |  | 1 | relevant papers referring to the equipment
Demagnetizer | Other | home-made | RMI |  |  |  | constructed in 2015, for 4cm samples, uniaxial AF coil in Helmholtz system, up to 80 mT AC peak field | 1
Demagnetizer | Magnetic Measurements MMTD80 Thermal demagnetizer |  | Magnetic Measurements |  |  |  | acquired in 2012, includes calibrated DC solenoid for palaeointensity | 1
Magnetometer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device |  | 2G Enterprises |  |  |  | upgraded to DC SQUIDs and liquid He free in 2005, large bore | 1
HysteresisAndMagneticMineralogyProperties | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) |  | Kazan University |  |  |  | acquired in 2004, measures also IRM decay within 100s | 1
HysteresisAndMagneticMineralogyProperties | Other | MPMS3 Evercool AC susceptibility | Quantum Design |  |  |  | acquired in 2014, up to 7 T, AC susceptibility, rotator for anisotropy | 1
Magnetizer | Magnetic Measurements pulse magnetizer 2.5 T standard samples, 7 T small samples |  | 2G Enterprises |  |  |  | old but working, max field 2.3 T | 1
SusceptibilityMeter | AGICO Kappabridge KLY3S with CS3 furnace and CS-L cooler |  | Agico |  |  |  | upgraded to KLY4 in 2007?, measures field dependence, rotator for AMS | 1
SusceptibilityMeter | Bartington magnetic susceptibility meter with various sensors |  | Bartington |  |  |  | sensors: MS2D, dual frequency, core logging, incl home made automated transport system for core logging | 1
SusceptibilityMeter | Other | SM400 | ZH instruments |  |  |  | acquired in 2009, field susceptibility meter for in-situ bore hole logging up to 0.4 m | 1
Other | Other | Pycnometer | Micromeritics |  |  |  | acquired in 2011, particle density measurements by gas displacement | 1
ShieldedRoom | Other | commercial, to be defined | commercial, to be defined |  |  |  | construction planned for 2020-2021, 3 layer mu-metal shield, 40 m2 | 1
In the section below please specify the information about mausurement type performed by the lab in different rows
Measurement type | Measured type (if other) | Measured type specifics and comments | References
Remanent magnetisation > demagnetisation type AF |  |  | relevant papers referring to measured property
Remanent magnetisation > demagnetisation type TH (thermal) |  | in addition palaeointensity
Magnetic susceptibility > bulk
Magnetic susceptibility > anisotropy
| magnetic properties | AC and DC magnetometry

## Lab names
LabNames
Archeomagnetism Laboratory (CENIEH Burgos, Spain)
Group of Magnetic Applications (Universitat Autònoma de Barcelona (UAB), Spain)
Laboratory of AMS (Paleomagnetism) and Geophysical Prospection (IGME-Universidad de Zaragoza, Spain)
Laboratory of Paleomagnetism (CSIC-ICTJA and Universitat de Barcelona, Spain)
Laboratory of Paleomagnetism (CSIC-IPNA, Spain)
Laboratory of Paleomagnetism (Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain)
Laboratory of Paleomagnetism (Universidad de Vigo, Spain)
Paleomagnetic and Rock Magnetic Laboratory (Universidad de Burgos, Spain)
Paleomagnetic Laboratory (INGV, Italy)
Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Paleomagnetic Laboratory Fort Hoofddijk (Utrecht University, The Netherlands)
Paléomagnétisme CEREGE Aix en Provence (CNRS-Aix Marseille University, France)
Paléomagnétisme IPG Paris (CNRS-Sorbonne Paris Cité University, France)
Paléomagnétisme LSCE Gif sur Yvette (CNRS-Versailles St Quentin University, France)
Paléomagnétisme Géosciences Environnement (CNRS-Toulouse University, France)
Paléomagnétisme Géosciences Montpellier (CNRS-Montpellier University, France)
Paléomagnétisme Géosciences Rennes (CNRS-Rennes 1 University, France)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment type | Demagnetizer | HysteresisAndMagneticMineralogyProperties | Magnetizer | Magnetometer | ShieldedRoom | SusceptibilityMeter | Other
Demagnetizer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | 2G Cryogenic Magnetometer | Shielded room (in-house design) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | AFM/MFM microscope (Veeco Nanoscope IIIa)
HysteresisAndMagneticMineralogyProperties | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | MicroSense VSM with temperature control between 77-1000 K | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Shielded room (Lodestar Magnetics) | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | Other
Magnetizer | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | MMVFTB (Magnetic Measurements Variable Field Translation Balance) | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | Other | AGICO Kappabridge KLY2
Magnetometer | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | Modified horizontal translation Curie balance | 2G Pulse magnetizer up to 2.7 T | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter |  | AGICO Kappabridge KLY3 with CS3 furnace and CS-L cooler
ShieldedRoom | AGICO AF demagnetizer LDA-5 (up to 200 mT) | Molspin VSM | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device |  | AGICO Kappabridge KLY3S with CS3 furnace and CS-L cooler
SusceptibilityMeter | AGICO Spinner Magnetometer JR-6 | Princeton Micromag 2900/3900 AGM/VSM with cryostat | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | AGICO Spinner Magnetometer JR-5A |  | AGICO Kappabridge KLY4-S with CS3 furnace
Other | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM | Other | AGICO Spinner Magnetometer JR-6 | Other |  | AGICO Kappabridge MFK1 FA
| ASC Scientific thermal demagnetizer with absolute paleointensity device |  | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM |  |  | AGICO Kappabridge MFK1_FA with CS3 furnace and CS-L cooler
| Magnetic Measurements MMTD80 Thermal demagnetizer |  | ASC IM10-30 pulse magnetizer (4 coils: 3 - 60 mT, 50 mT - 1.25 T, 150 mT - 2.7 T, 300 mT up to 5T) |  |  | Bartington magnetic susceptibility meter with various sensors
| Magnetic Measurements MMTDSC Super Cooled Thermal Demagnetizer |  | ASC Scientific IM-10-30 pulse magnetizer (two coils; up to 2 and 4 T) |  |  | Magnetic Susceptibility Meter: KT-10 v2 (TerraPlus) and SM-20 (GF Instruments)
| Pyrox Scientific thermal demagnetizer |  | ASC Scientific thermal demagnetizer |  |  | Other
| Schonstedt GSD5 AF demagnetizer |  | Magnetic Measurements pulse magnetizer 2.5 T standard samples, 7 T small samples
| Schonstedt TSD1 thermal demagnetizer |  | Other
Other

## Measurement type
Measurement type
Remanent magnetisation > demagnetisation type AF
Remanent magnetisation > demagnetisation type TH (thermal)
Magnetic susceptibility > bulk
Magnetic susceptibility > anisotropy
Other