## Paleomagnetism lab info
TCS Multi-scale laboratories: Paleomagnetism
1: Lab information
Lab information | The INGV paleomagnetic laboratory is located in Rome, and was gradually developed since 1990, both in terms of the installed scientific instrumentation and of the qualified personnel, so that it presently constitutes the main Italian paleomagnetic facility and one of the best-equipped European laboratories of this kind. It is intensively employed in the most of the fields of application of paleomagnetism, including rock magnetism and environmental magnetism, with continuous involvement in large scientific international projects and in scientific partnerships with Italian universities and scientific institutions. The research activities resulted in a wide scientific literature, which brought to the INGV paleomagnetic laboratory a remarkable scientific reputation. Since 1993, the core of the infrastructure is a shielded room, which reduces the intensity of the magnetic field inside to a few thousandths of the local geomagnetic field. The room houses two cryogenic magnetometers and the Pyrox and ASC Scientific thermal demagnetizers, for heating the samples up to 700°C; all the instruments inside the room also have additional μ-metal shields for further insulation. The paleomagnetic laboratory also benefits from a adjoining room and a cold room for the storage of cores and u-channel samples. Here is a list of the main available scientific instruments: • 2G Cryogenic Magnetometers The DC SQUID magnetometers are based on superconducting loops containing Josephson junctions at liquid helium temperature (4K). They can measure both standard discrete (cylinders of rock to 2.5 cm in diameter 2.2 cm high) and continuous paleomagnetic samples (u-channels of up to 1.5 m in length and a square section of 1.9 cm side). The magnetometers are equipped with computer controlled in-line devices, including three orthogonal coils for alternating magnetic field (AF) degaussing of the samples, with the possibility of imparting anhysteretic remanent magnetization. The older magnetometer was installed in 1996, and keeps the low temperature with a 60 l reservoir of liquid helium, enough for about 1.5 years of operation. The liquid-helium-free 2G Cryogenic Magnetometer was installed in 2006 and works without the periodical liquid helium fillings. • AGICO JR6 Spinner Magnetometers In these Faraday-Neumann law-operating magnetometers, the sample rotates up to 90 cycles/s inside a pair of coils, inducing a electromotive force proportional to the magnetization of the sample. These magnetometers are very reliable but less sensitive than cryogenic magnetometers, but they are recommended for highly magnetized samples, which saturate the cryo system. • Princeton Micromag 2900/3900 AGM/VSM Magnetometer High precision and sensitivity instrument for measuring hysteresis loops, FORCs and other magnetic properties; the sensitivity is 10 nemu as alternating gradient magnetometer and 0.5 μemu as vibrating sample magnetometer. The VSM is equipped with a cryostat device operating in 10 K to room temperature range. • AGICO MFK1_FA multifunction susceptibility meter For measuring the magnetic susceptibility and its anisotropy on both cylindrical and cubic samples, as well as its variation according to the frequency and the intensity of the applied field. The MFK1 is coupled to a CS3 furnace, for analyzing the variation of the magnetic susceptibility during a cycle from room temperature up to 700 °C and back. Moreover, the CS-L apparatus allows the measurement of the variation of magnetic susceptibility in low-temperature cycles up to liquid nitrogen temperature. The laboratory is equipped with other facilities and instruments, such as the AGICO LDA-3A AF demagnetizer, coupled to the AMU-1A anhysteretic magnetizer, or a 2G pulse magnetizer, for applying magnetic fields up to 2.7 T For any further info, please visit the link: http://roma2.rm.ingv.it/en/units/3/laboratory_of_paleomagnetism_and_environmental_magnetism
2: Practical info
RI name | INGV
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Paleomagnetic Laboratory (INGV, Italy)
Facility Name (if other)
Facility address (street + number) | Via di Vigna Murata, 605
Facility address (postcode) | 14300
Facility address (city) | Rome
Facility address (country) | Italy
Facility gpsLat (decimal degree) | 41.8283
Facility gpsLon (decimal degree) | 1.5151
Facility research field | Paleomagnetism
Facility website | http://roma2.rm.ingv.it/en/facilities/laboratories/10/paleomagnetism_laboratory
Facility contact person (first name) | Aldo
Facility contact person (family name) | Winkler
Facility contact person ID | 0000-0002-0653-0059
Email of Facility contact person | aldo.winkler@ingv.it
Affiliation of Facility contact person | INGV, Italy
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Magnetometer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter |  |  | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, calibration parameters, year of acquisition, purchase value |  | relevant papers referring to the equipment
Magnetometer | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter
Demagnetizer | Pyrox Scientific thermal demagnetizer
Demagnetizer | ASC Scientific thermal demagnetizer with absolute paleointensity device
Demagnetizer | Other | ASC Scientific thermal demagnetizer
Demagnetizer | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer
Magnetizer | 2G Pulse magnetizer up to 2.7 T
Magnetometer | AGICO Spinner Magnetometer JR-5A
HysteresisAndMagneticMineralogyProperties | Molspin VSM
HysteresisAndMagneticMineralogyProperties | Princeton Micromag 2900/3900 AGM/VSM with cryostat
ShieldedRoom | Shielded room (Lodestar Magnetics)
SusceptibilityMeter | AGICO Kappabridge MFK1_FA with CS3 furnace and CS-L cooler
SusceptibilityMeter |  | KLY5 | AGICO |  |  |  | available from March, 2019
In the section below please specify the information about mausurement type performed by the lab in different rows
Measurement type | Measured type (if other) | Measured type specifics and comments | References
Remanent magnetisation > demagnetisation type AF |  |  | relevant papers referring to measured property
Remanent magnetisation > demagnetisation type TH (thermal)
Magnetic suzeptibility > bulk
Magnetic suzeptibility > anisotropy

## Lab names
LabNames
Archeomagnetism Laboratory (CENIEH Burgos, Spain)
Group of Magnetic Applications (Universitat Autònoma de Barcelona (UAB), Spain)
Laboratory of AMS (Paleomagnetism) and Geophysical Prospection (IGME-Universidad de Zaragoza, Spain)
Laboratory of Paleomagnetism (CSIC-ICTJA and Universitat de Barcelona, Spain)
Laboratory of Paleomagnetism (CSIC-IPNA, Spain)
Laboratory of Paleomagnetism (Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain)
Laboratory of Paleomagnetism (Universidad de Vigo, Spain)
Paleomagnetic and Rock Magnetic Laboratory (Universidad de Burgos, Spain)
Paleomagnetic Laboratory (INGV, Italy)
Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Paleomagnetic Laboratory Fort Hoofddijk (Utrecht University, The Netherlands)
Paléomagnétisme CEREGE Aix en Provence (CNRS-Aix Marseille University, France)
Paléomagnétisme IPG Paris (CNRS-Sorbonne Paris Cité University, France)
Paléomagnétisme LSCE Gif sur Yvette (CNRS-Versailles St Quentin University, France)
Paléomagnétisme Géosciences Environnement (CNRS-Toulouse University, France)
Paléomagnétisme Géosciences Montpellier (CNRS-Montpellier University, France)
Paléomagnétisme Géosciences Rennes (CNRS-Rennes 1 University, France)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment type | Demagnetizer | HysteresisAndMagneticMineralogyProperties | Magnetizer | Magnetometer | ShieldedRoom | SusceptibilityMeter | Other
Demagnetizer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | 2G Cryogenic Magnetometer | Shielded room (in-house design) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | AFM/MFM microscope (Veeco Nanoscope IIIa)
HysteresisAndMagneticMineralogyProperties | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | MicroSense VSM with temperature control between 77-1000 K | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Shielded room (Lodestar Magnetics) | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | Other
Magnetizer | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | MMVFTB (Magnetic Measurements Variable Field Translation Balance) | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | Other | AGICO Kappabridge KLY2
Magnetometer | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | Modified horizontal translation Curie balance | 2G Pulse magnetizer up to 2.7 T | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter |  | AGICO Kappabridge KLY3 with CS3 furnace and CS-L cooler
ShieldedRoom | AGICO AF demagnetizer LDA-5 (up to 200 mT) | Molspin VSM | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device |  | AGICO Kappabridge KLY3S with CS3 furnace and CS-L cooler
SusceptibilityMeter | AGICO Spinner Magnetometer JR-6 | Princeton Micromag 2900/3900 AGM/VSM with cryostat | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | AGICO Spinner Magnetometer JR-5A |  | AGICO Kappabridge KLY4-S with CS3 furnace
Other | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM | Other | AGICO Spinner Magnetometer JR-6 | Other |  | AGICO Kappabridge MFK1 FA
| ASC Scientific thermal demagnetizer with absolute paleointensity device |  | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM |  |  | AGICO Kappabridge MFK1_FA with CS3 furnace and CS-L cooler
| Magnetic Measurements MMTD80 Thermal demagnetizer |  | ASC IM10-30 pulse magnetizer (4 coils: 3 - 60 mT, 50 mT - 1.25 T, 150 mT - 2.7 T, 300 mT up to 5T) |  |  | Bartington magnetic susceptibility meter with various sensors
| Magnetic Measurements MMTDSC Super Cooled Thermal Demagnetizer |  | ASC Scientific IM-10-30 pulse magnetizer (two coils; up to 2 and 4 T) |  |  | Magnetic Susceptibility Meter: KT-10 v2 (TerraPlus) and SM-20 (GF Instruments)
| Pyrox Scientific thermal demagnetizer |  | ASC Scientific thermal demagnetizer |  |  | Other
| Schonstedt GSD5 AF demagnetizer |  | Magnetic Measurements pulse magnetizer 2.5 T standard samples, 7 T small samples
| Schonstedt TSD1 thermal demagnetizer |  | Other
Other

## Measurement type
Measurement type
Remanent magnetisation > demagnetisation type AF
Remanent magnetisation > demagnetisation type TH (thermal)
Magnetic suzeptibility > bulk
Magnetic suzeptibility > anisotropy
Other