## Paleomagnetism lab info
TCS Multi-scale laboratories: Paleomagnetism
1: Lab information
Lab information | The Laboratory of Paleomagnetism of Roma TRE has been established in 1996. It is provided of the main instrumentations and facilities used for: 1) paleomagnetic analysis for the reconstruction of tectonic processes (geodynamic evolution of the Mediterranean area, tectonic evolution of Iran; tectonic evolution of the Anatolia Plateau); 2) analysis of deformation using the anisotropy of magnetic susceptibility; 3) volcanic paleomagnetism (Magnetic fabric analysis and implications for pyroclastic flow and lahar emplacement; definition of emplacement temperatures in ignimbrites; Dikes emplacement and implications on the feeding system in volcanic apparatus)
2: Practical info
RI name | Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Facility Name (if other)
Facility address (street + number)
Facility address (postcode)
Facility address (city)
Facility address (country)
Facility gpsLat (decimal degree) | 41.8542
Facility gpsLon (decimal degree) | 12.4644
Facility research field | Paleomagnetism
Facility website | http://host.uniroma3.it/docenti/mattei/Paleomagnetic_Lab.html
Facility contact person (first name) | Francesca
Facility contact person (family name) | Cifelli
Facility contact person ID | https://orcid.org/0000-0002-6337-8786
Email of Facility contact person | francesca.cifelli@uniroma3.it
Affiliation of Facility contact person | Università di Roma TRE, Italy
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Demagnetizer | ASC Scientific thermal demagnetizer |  | ASC | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, calibration parameters, year of acquisition, purchase value |  | relevant papers referring to the equipment
Magnetizer | ASC IM10-30 pulse magnetizer (4 coils: 3 - 60 mT, 50 mT - 1.25 T, 150 mT - 2.7 T, 300 mT up to 5T) |  | ASC
Magnetometer | AGICO Spinner Magnetometer JR-6 |  | AGICO
SusceptibilityMeter | AGICO Kappabridge KLY3 |  | AGICO
In the section below please specify the information about mausurement type performed by the lab in different rows
Measurement type | Measured type (if other) | Measured type specifics and comments | References
Anisotropy > LT-AMS: anisotropy of the magnetic susceptibility at low temperature (from -196ºC) |  |  | relevant papers referring to measured property
Anisotropy > RT-AMS: anisotropy of the magnetic susceptibility at room temperature
Magnetic susceptibility > anisotropy
Magnetic susceptibility > bulk
Magnetic suseptibility > susceptibility vs. temperature curves (from -196 to 700ºC)
Remanent magnetisation > isothermal remanent magnetisation (IRM)
Remanent magnetisation > natural remanent magnetisation (NRM)
Remanent magnetisation > demagnetisation type TH (thermal)
Remanent magnetization > thermal demagnetisation of the 3-axis IRM

## Lab names
LabNames
Archeomagnetism Laboratory (CENIEH Burgos, Spain)
Group of Magnetic Applications (Universitat Autònoma de Barcelona (UAB), Spain)
Laboratory of AMS (Paleomagnetism) and Geophysical Prospection (IGME-Universidad de Zaragoza, Spain)
Laboratory of Paleomagnetism (CSIC-ICTJA and Universitat de Barcelona, Spain)
Laboratory of Paleomagnetism (CSIC-IPNA, Spain)
Laboratory of Paleomagnetism (Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain)
Laboratory of Paleomagnetism (Universidad de Vigo, Spain)
Paleomagnetic and Rock Magnetic Laboratory (Universidad de Burgos, Spain)
Paleomagnetic Laboratory (INGV, Italy)
Paleomagnetic Laboratory (NIGGG - BAS, Bulgaria)
Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Paleomagnetic Laboratory Fort Hoofddijk (Utrecht University, The Netherlands)
Paléomagnétisme CEREGE Aix en Provence (CNRS-Aix Marseille University, France)
Paléomagnétisme IPG Paris (CNRS-Sorbonne Paris Cité University, France)
Paléomagnétisme LSCE Gif sur Yvette (CNRS-Versailles St Quentin University, France)
Paléomagnétisme Géosciences Environnement (CNRS-Toulouse University, France)
Paléomagnétisme Géosciences Montpellier (CNRS-Montpellier University, France)
Paléomagnétisme Géosciences Rennes (CNRS-Rennes 1 University, France)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
NIGGG-BAS, Bulgaria
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment type | Demagnetizer | HysteresisAndMagneticMineralogyProperties | Magnetizer | Magnetometer | ShieldedRoom | SusceptibilityMeter | Other
Demagnetizer | AGICO AF demagnetizer LDA-3A | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) | 2G Pulse magnetizer up to 2.7 T | 2G Cryogenic Magnetometer | Franz magnetic barrier separator LB-1 | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | AFM/MFM microscope (Veeco Nanoscope IIIa)
HysteresisAndMagneticMineralogyProperties | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | MicroSense VSM with temperature control between 77-1000 K | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Magnetic measurements active shielding | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | Centrifuge Sigma 2-6
Magnetizer | AGICO AF demagnetizer LDA-5 (up to 200 mT) | MMVFTB (Magnetic Measurements Variable Field Translation Balance) | ASC IM10-30 pulse magnetizer (4 coils: 3 - 60 mT, 50 mT - 1.25 T, 150 mT - 2.7 T, 300 mT up to 5T) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | In-House design | AGICO Kappabridge KLY2 | Magnetic extraction system in aqueous phase
Magnetometer | AGICO Spinner Magnetometer JR-6 | Modified horizontal translation Curie balance | ASC Scientific IM-10-30 pulse magnetizer (two coils; up to 2 and 4 T) | 2G Cryogenic Magnetometer with in-line AF degaussing and ARM device (755) | Lodestar Magnetics | AGICO Kappabridge KLY2 with CS2 | Mill Pulverisette 6
ShieldedRoom | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM | Molspin VSM | Furnaces with TRM acquisition in air/vacuum | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | Soudupin | AGICO Kappabridge KLY3 | Mössbauer spectrometer
SusceptibilityMeter | ASC Scientific thermal demagnetizer | Princeton Micromag 2900/3900 AGM/VSM with cryostat | M2T-1 pulse magnetizer 2T T standard samples | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device | System of self-compensating Helmoth coils (6 m3; in-house design) | AGICO Kappabridge KLY3 with CS3 furnace and CS-L cooler | Muffle furnace MF306
Other | ASC Scientific thermal demagnetizer dual-chamber TD48-DC | Princeton Micromag 2900/3900 AGM/VSM without cryostat | Magnetic Measurements pulse magnetizer 2.5 T standard samples, 7 T small samples | 2G SQUID Magnetometer with in-line AF demagnetization and ARM device (755 SRM) | Other | AGICO Kappabridge KLY3-S with CS3 furnace and CS-L cooler | Sieve Analysette 3 PRO
| ASC Scientific thermal demagnetizer with absolute paleointensity device | Other | Other | AGICO Spinner Magnetometer JR-5 |  | AGICO Kappabridge KLY4 with CS3 furnace and CS-L cooler | Other
| ASC Scientific thermal demagnetizer, single chamber |  |  | AGICO Spinner Magnetometer JR-5A |  | AGICO Kappabridge KLY4-S with CS3 furnace
| Magnetic Measurements MMTD80 Thermal demagnetizer |  |  | AGICO Spinner Magnetometer JR-6 |  | AGICO Kappabridge KLY5
| Magnetic Measurements MMTDSC Super Cooled Thermal Demagnetizer |  |  | AGICO Spinner Magnetometer JR-6A |  | AGICO Kappabridge MFK1
| Molspin AF-demagnetizer with ARM attachment |  |  | Molspin Spinner |  | AGICO Kappabridge MFK1-FA
| Pyrox Scientific thermal demagnetizer |  |  | Other |  | AGICO Kappabridge MFK1-FA with CS3 furnace and CS-L cooler
| Schonstedt GSD5 AF demagnetizer |  |  |  |  | Bartington magnetic susceptibility meter with various sensors
| Schonstedt TSD1 thermal demagnetizer |  |  |  |  | KT-10 v2 (TerraPlus)
| Other |  |  |  |  | SM-20 (GF Instruments)
SM-30 (GF Instruments)
SI2B susceptibility meter
Other

## Measurement type
Measurement type
Anisotropy > AARM: anisotropy of the anhysteretic remanent magnetisation
Anisotropy > AIRM: anisotropy of the isothermal remanent magnetisation
Anisotropy > LT-AMS: anisotropy of the magnetic susceptibility at low temperature (from -196ºC)
Anisotropy > RT-AMS: anisotropy of the magnetic susceptibility at room temperature
High field thermomagnetic curves
Hysteresis curves
Hysteresis loops
Induced magnetisation > temperature-magnetisation curves (from -196ºC to 700ºC)
Magnetic hysterisis > FORC
Magnetic susceptibility > anisotropy
Magnetic susceptibility > bulk
Magnetic suseptibility > susceptibility vs. temperature curves (from -196 to 700ºC)
Remanent magnetisation > anhysteretic remanent magnetisation (ARM)
Remanent magnetisation > isothermal remanent magnetisation (IRM)
Remanent magnetisation > natural remanent magnetisation (NRM)
Remanent magnetisation > demagnetisation type AF
Remanent magnetisation > demagnetisation type TH (thermal)
Remanent magnetisation > paleointensity
Remanent magnetisation > relative paleointensity
Remanent magnetization > backfield cycles
Remanent magnetization > thermal demagnetisation of the 3-axis IRM
Other