## Paleomagnetism lab info
TCS Multi-scale laboratories: Paleomagnetism
1: Lab information
Lab information | The research of the Fort Hoofddijk Paleomagnetic Laboratory cover nearly all fields of paleomagnetism. An important expertise of the research group is building high resolution and accurate time scales, using magnetostratigraphy and cyclostratigraphy (and astrochronology), based on correlation to astronomical solutions of past changes in the Earth’s orbit and rotation. Another major topic is the acquisition of reliable and detailed records of the geomagnetic field at all time scales, which serves to understand the past magnetic field of our planet Earth. This work includes paleointentsity and paleosecular variation studies – from recent periods (archaeomagnetism), during periods when the field did not reverse (superchrons) - to properties of the earliest field more than 3 billions of years ago. This field includes understanding how the ancient field was acquired in the remanent magnetization in different types of rocks (rock magnetism). Yet another key interest concerns geodynamic/tectonic studies, at different spatial and temporal scales and on several continents, but with an emphasis on the Alpine-Himalayan mountain belt. This includes the Mediterranean, Paratethys and Himalayan areas as one of the most active tectonic regions in the world. The laboratory is featured with spohisticated instruments for detailed stepwise demagnetization and measurement of the natural remanent magnetization (NRM) and various laboratory-imparted remanences. All with the overarching aim to unveil the NRM intricacies for robust geological and geophysical interpretations. This includes devices for measurement of the magnetic susceptibility and its anisotropy as well as instrumentation for measurement of magnetic hysteresis loops and FORC diagrams. The paleomagnetism group has access to other analytical facilities of the Department of Earth Sciences. Please find further information here: http://www.geo.uu.nl/~forth/
2: Practical info
RI name | Utrecht University - Experimental and Analytical Laboratories
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Paleomagnetic Laboratory Fort Hoofddijk (Utrecht University, The Netherlands)
Facility Name (if other)
Facility address (street + number) | Budapestlaan 17
Facility address (postcode) | 3584 CD
Facility address (city) | Utrecht
Facility address (country) | Netherlands
Facility gpsLat (decimal degree) | 52.0881
Facility gpsLon (decimal degree) | 5.1703
Facility research field | Paleomagnetism
Facility website | http://www.geo.uu.nl/~forth/
Facility contact person (first name) | Mark
Facility contact person (family name) | Dekkers
Facility contact person ID | ORCID: 0000-0002-4156-3841
Email of Facility contact person | m.j.dekkers@uu.nl
Affiliation of Facility contact person | Utrecht University, The Netherlands
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
Demagnetizer | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter |  | 2G | only if different from facility contact person | only if different from facility contact person | only if different from facility website | e.g, calibration parameters, year of acquisition, purchase value |  | relevant papers referring to the equipment
Demagnetizer | ASC Scientific thermal demagnetizer with absolute paleointensity device |  | ASC
HysteresisAndMagneticMineralogyProperties | Princeton Micromag 2900/3900 AGM/VSM with cryostat |  | Lakeshore
HysteresisAndMagneticMineralogyProperties | MicroSense VSM with temperature control between 77-1000 K |  | Microsense
Magnetometer | 2G Cryogenic Magnetometer |  | 2G
Magnetometer | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device |  | 2G
SusceptibilityMeter | AGICO Kappabridge KLY3S with CS3 furnace and CS-L cooler |  | AGICO
SusceptibilityMeter | AGICO Kappabridge MFK1 FA |  | AGICO
ShieldedRoom | Shielded room (in-house design)
HysteresisAndMagneticMineralogyProperties | Modified horizontal translation Curie balance
Other | AFM/MFM microscope (Veeco Nanoscope IIIa) |  | Veeco
In the section below please specify the information about mausurement type performed by the lab in different rows
Measurement type | Measured type (if other) | Measured type specifics and comments | References
Remanent magnetisation > demagnetisation type AF |  |  | relevant papers referring to measured property
Remanent magnetisation > demagnetisation type TH (thermal)
Magnetic suzeptibility > bulk
Magnetic suzeptibility > anisotropy
magnetic hysteresis, FORC
remanent magnetisation, paleointensity
remanent magnetisation, relative paleointensity

## Lab names
LabNames
Archeomagnetism Laboratory (CENIEH Burgos, Spain)
Group of Magnetic Applications (Universitat Autònoma de Barcelona (UAB), Spain)
Laboratory of AMS (Paleomagnetism) and Geophysical Prospection (IGME-Universidad de Zaragoza, Spain)
Laboratory of Paleomagnetism (CSIC-ICTJA and Universitat de Barcelona, Spain)
Laboratory of Paleomagnetism (CSIC-IPNA, Spain)
Laboratory of Paleomagnetism (Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain)
Laboratory of Paleomagnetism (Universidad de Vigo, Spain)
Paleomagnetic and Rock Magnetic Laboratory (Universidad de Burgos, Spain)
Paleomagnetic Laboratory (INGV, Italy)
Paleomagnetic Laboratory (Università di Roma TRE, Italy)
Paleomagnetic Laboratory Fort Hoofddijk (Utrecht University, The Netherlands)
Paléomagnétisme CEREGE Aix en Provence (CNRS-Aix Marseille University, France)
Paléomagnétisme IPG Paris (CNRS-Sorbonne Paris Cité University, France)
Paléomagnétisme LSCE Gif sur Yvette (CNRS-Versailles St Quentin University, France)
Paléomagnétisme Géosciences Environnement (CNRS-Toulouse University, France)
Paléomagnétisme Géosciences Montpellier (CNRS-Montpellier University, France)
Paléomagnétisme Géosciences Rennes (CNRS-Rennes 1 University, France)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affiliation lab contact person
Affiliation
BGS, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment
Equipment type | Demagnetizer | HysteresisAndMagneticMineralogyProperties | Magnetizer | Magnetometer | ShieldedRoom | SusceptibilityMeter | Other
Demagnetizer | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Kazan Univ. “Coercitivity spectrometer” (up to 0.5 T) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | 2G Cryogenic Magnetometer | Shielded room (in-house design) | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | AFM/MFM microscope (Veeco Nanoscope IIIa)
HysteresisAndMagneticMineralogyProperties | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | MicroSense VSM with temperature control between 77-1000 K | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device | Shielded room (Lodestar Magnetics) | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | Other
Magnetizer | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | MMVFTB (Magnetic Measurements Variable Field Translation Balance) | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter | 2G Cryogenic Magnetometer liquid-helium-free, with in-line AF degaussing, ARM device and MS2C susceptibility meter | Other | AGICO Kappabridge KLY2
Magnetometer | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | Modified horizontal translation Curie balance | 2G Pulse magnetizer up to 2.7 T | 2G Cryogenic Magnetometer with in-line AF degaussing, ARM device and MS2C susceptibility meter |  | AGICO Kappabridge KLY3 with CS3 furnace and CS-L cooler
ShieldedRoom | AGICO AF demagnetizer LDA-5 (up to 200 mT) | Molspin VSM | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device | 2G SQUID Magnetometer with in-line AF degaussing, ARM device and IRM device |  | AGICO Kappabridge KLY3S with CS3 furnace and CS-L cooler
SusceptibilityMeter | AGICO Spinner Magnetometer JR-6 | Princeton Micromag 2900/3900 AGM/VSM with cryostat | AGICO AF demagnetizer LDA-3A with AMU-1A anhysteretic magnetizer | AGICO Spinner Magnetometer JR-5A |  | AGICO Kappabridge KLY4-S with CS3 furnace
Other | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM | Other | AGICO Spinner Magnetometer JR-6 | Other |  | AGICO Kappabridge MFK1 FA
| ASC Scientific thermal demagnetizer with absolute paleointensity device |  | ASC DTech2000 AF demagnetizer (up to 200 mT) with ARM and pARM |  |  | AGICO Kappabridge MFK1_FA with CS3 furnace and CS-L cooler
| Magnetic Measurements MMTD80 Thermal demagnetizer |  | ASC IM10-30 pulse magnetizer (4 coils: 3 - 60 mT, 50 mT - 1.25 T, 150 mT - 2.7 T, 300 mT up to 5T) |  |  | Bartington magnetic susceptibility meter with various sensors
| Magnetic Measurements MMTDSC Super Cooled Thermal Demagnetizer |  | ASC Scientific IM-10-30 pulse magnetizer (two coils; up to 2 and 4 T) |  |  | Magnetic Susceptibility Meter: KT-10 v2 (TerraPlus) and SM-20 (GF Instruments)
| Pyrox Scientific thermal demagnetizer |  | ASC Scientific thermal demagnetizer |  |  | Other
| Schonstedt GSD5 AF demagnetizer |  | Magnetic Measurements pulse magnetizer 2.5 T standard samples, 7 T small samples
| Schonstedt TSD1 thermal demagnetizer |  | Other
Other

## Measurement type
Measurement type
Remanent magnetisation > demagnetisation type AF
Remanent magnetisation > demagnetisation type TH (thermal)
Magnetic suzeptibility > bulk
Magnetic suzeptibility > anisotropy
Other