## rock_melt physics & microscopy
TCS Multi-scale laboratories: Rock/melt physics & Microscopy
1: Lab information
Lab information | The Geomechanics Laboratory of CERENA/Instituto Superior Técnico (GEOLAB-CERENA/TECNICO) develops investigation in the field of Rock and Soil Mechanics applied to Mining, Petroleum and Geotechnical Engineering. The GEOLAB-CERENA/TECNICO is a member of the European Plate Observing System EPOS and is broadly supplied with experimental equipment for the analysis of rock physics and geomechanics with the measurement of rock properties like strenght, elasticity, porosity, etc, and the modeling of subsurface sites and geological environments through a suite of customizable deformation devices. GEOLAB-CERENA/TECNICO has equipment that provides the execution of standard laboratorial and in situ tests and quantifying deformation in analogue models and high-resolution digital modeling through acoustic emissions, piezo and MEM acceleroments and meets the requests of mining and geotechnical companies developing frequently experimental surveys and technical reports. The development of innovative tests in this laboratory is also strongly encouraged for PhD and Master Students. For further informations: http://cerena.ist.utl.pt/?page_id=5270
2: Practical info
RI name | Técnico, Lisbon University
Facility type | Laboratory
Facility ID | will be assigned later
Facility Name | Geomechanics Laboratory, GEOLAB-CERENA (Instituto Superior Técnico, Portugal)
Facility Name (if other)
Facility address (street + number) | Av. Rovisco Pais, no. 1
Facility address (postcode) | 1049-001
Facility address (city) | Lisboa
Facility address (country) | Portugal
Facility gpsLat (decimal degree) | 38.7358
Facility gpsLon (decimal degree) | -9.138
Facility research field | Rock/melt physics & Microscopy
Facility website | http://cerena.ist.utl.pt/
Facility contact person (first name) | Matilde
Facility contact person (family name) | Horta Costa e Silva
Facility contact person ID | http://orcid.org/0000-0002-1354-8636
Facility contact person Email | matilde.horta@tecnico.ulisboa.pt
Affiliation of Facility contact person | GEOLAB-CERENA/TECNICO, Portugal
Affiliation of Facility contact person (if other)
3: Lab services
In the section below please specify the information about each lab equipment in different rows
Equipment type | Equipment name | Equipment name (if other) | Equipment brand | Equipment contact person | Email of equipment contact person | Equipment website | Equipment specifics and comments | Equipment quantity | References
|  |  |  | if different from facility contact | only if different from facility contact person | only if different from facility website | e.g, calibration parameters, year of acquisition, purchase value |  | relevant papers referring to the equipment
Apparatus | Other | Acoustic Emissions | Peng Xiang Technology, PXPA1 and PXMA. |  |  | http://cerena.ist.utl.pt/?page_id=5270 | The pre-amplifiers produce a 50 dBe pre-gain signal at ~ 28 V DC. | 4 pre-amplifiers and 1 amplifier
Apparatus | Other | Bench Mounting Mixer | Hobart |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Mixer 5 litre capacity | 1
Apparatus | Uniaxial | Load Machine | FORM + TEST Prufsysteme |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Max load compression capacity of 1000 kN | 1
Apparatus | Uniaxial | Compressive load machine | ELE Compact |  |  | http://cerena.ist.utl.pt/?page_id=5270 | loading capacity of 1560 kN | 1
Apparatus | Shear Box |  | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Used to determine the strength and slope stability of rock size max 115x125 mm or cores max. dia. 102 mm, both in the field and in the laboratory. | 1
Apparatus | Other | Convergencemeter Unit | Geokon |  |  | http://cerena.ist.utl.pt/?page_id=5270
Apparatus | Other | Core Cutting Machine | EFI Máquinas and Dimar |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Equipment to obtain core samples of diameter between 0,7 and 2,5 inches | 2
Monitoring | Other | Data acquisition and monitoring system (ADU) | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Up to 32 input/output channels. Up to 100 readings per second in normal multi-tasking mode. Standard RS-232C interface. Compatible with a complete range of transducers for almost any test requirements. | 1
Monitoring | Other | Data taker acquisition system | DataTaker |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Monitoring | Other | Strain Indicator and Recorder | Model P3 |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Portable, battery-operated instrument capable of simultaneously accepting four inputs from quarter-, half-, and full-bridge strain-gage circuits, including strain-gage-based transducers. The P3 functions as bridge amplifier, static strain indicator, and digital data logger. | 1
Apparatus | Other | Direct tension testing package | Adapted by Geomechanics Laboratory, GEOLAB-CERENA |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Max load capacity of 1000 kN | 1
Apparatus | Other | Flexural testing machine | FORM + TEST Prufsysteme |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Max load capacity of 200 kN | 1
Monitoring | Strain gauge > Axial strain gauge |  |  |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | Variable
Monitoring | Strain gauge > Radial strain gauge |  |  |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | Variable
Monitoring | Strain gauge > Axial extensometer |  | GCTS |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Monitoring | Strain gauge > Circumferential extensometer |  | GCTS |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Monitoring | Ultrasonic transducer > P wave transducer |  | Piceramic |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Circulars with a diameter of 10 mm. | Variable
Monitoring | Ultrasonic transducer > S wave transducer |  | Piceramic |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Rectangular with lengths of 4 mm. | Variable
Apparatus | Other | Roughness Testing Package | Mitutoyo KA Counter |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Detector 0.75 mN type | 1
Apparatus | Other | Moisture Cabinet | Gilson |  |  | http://cerena.ist.utl.pt/?page_id=5270 | 11ft³ capacity | 1
Apparatus | Other | Inclinometer and accessories |  |  |  | http://cerena.ist.utl.pt/?page_id=5270
Apparatus | Other | Plate Bearing test | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | 500kN Capacity | 1
Apparatus | Other | Point Load Test | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Max capacity 56 kN | 1
Apparatus | Permeameter | Permeability Pressure test 1700 | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Rock Pressure test equipment for permeability determination under a constant pressure (maximum of 1700 kPa) | 1
Apparatus | Other | Pull test machine and accessories |  |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Apparatus | Schmidt Hammer |  |  |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Apparatus | Other | Seismograph - Refractionand Vibration Recorder Signal Enhancemer | Instantel |  |  | http://cerena.ist.utl.pt/?page_id=5270 | 8 channel ground borne vibrations monitoring system (frequency domain of 2 and 250 Hz) with standard (vibration amplitudes range between 0.13 and 254 mm/s) and low-level (range of 0.0013 and 2.54 mm/s) Geophones. | 1
Apparatus | Other | Shear test machine | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Microprocessor control. Fully variable speed, 0.00001 to 9.99999 mm/minute. Accepts specimens up to 100 mm square. | 1
Apparatus | Other | Slake durability apparatus | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Apparatus | Other | Small Flat Jack | Adapted by Geomechanics Laboratory, GEOLAB-CERENA |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Determine in situ stresses in rock masses | 1
Apparatus | Other | Systems for shear testing with Protodyakonov method | Adapted by Geomechanics Laboratory, GEOLAB-CERENA |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Apparatus | Triaxial |  | GCTS HTRX-070-L |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Max Load Capacity 2000 kN. Max confining pressure 70 MPa | 1
Apparatus | Hooke cell |  | ELE |  |  | http://cerena.ist.utl.pt/?page_id=5270 | Pressures up to 70 MPa. Maximum lateral pressure of 5 MPa | 1
Apparatus | Other | Hydraulic Piezometer and water-level sensor |  |  |  | http://cerena.ist.utl.pt/?page_id=5270
Apparatus | Other | Vibration Shaking Table |  |  |  | http://cerena.ist.utl.pt/?page_id=5270 |  | 1
Apparatus | Other | Cherchar equipment | Adapted by Geomechanics Laboratory, GEOLAB-CERENA |  |  | http://cerena.ist.utl.pt/?page_id=5270 | For rock abrasiveness determination | 1

## Lab names
LabNames
Experimental Geoscience Facility (The University of Edinburgh, UK)
Experimental rock deformation/HPT-Lab (Utrecht University, The Netherlands)
Geomechanics Laboratory, GEOLAB-CERENA (Instituto Superior Técnico, Portugal)
Georessources (CNRS-Université de Lorraine, France)
Geosciences Montpellier (CNRS-Université de Montpellier, France)
HP-HT Laboratory of Experimental Volcanolgy and Geophysics (INGV, Italy)
ISTERRE (CNRS-Université de Grenoble Alpes, France)
Laboratoire 3S-R (CNRS-Université de Grenoble, France)
Laboratoire de déformation (CNRS-EOST/Université of Strasbourg, France)
Laboratoire de Géologie (CNRS-Ecole Normale Supérieure, Paris, France)
Laboratoire de mécaniques des solides (Ecole Polytechnique, France)
Laboratoire des fluides complexes et leur réservoirs (CNRS-Université de Pau, France)
Melt and magma thermal analysis lab/High temperature melt lab (Ludwig-Maximilians-University Munich, Germany)
Microseismology and Rock Physics Laboratory (ISEL - Physics Department, Portugal)
RMPL- The Rock Mechanics and Physics Laboratory (BGS British Geological Survey, UK)
Rock & Ice Physics Laboratory (UCL University College London, UK)
Rock Deformation Laboratory (ETHZ, Switzerland)
Rock Deformation Laboratory (GFZ German Research Centre for Geosciences, Germany)
Rock Mechanics Laboratory (Durham University, UK)
Rock Mechanics Laboratory (University of Portsmouth, UK)
Other

## Countries
ECountries
Albania
Andorra
Austria
Belarus
Belgium
Bosnia and Herzegovina
Bulgaria
Croatia (Hrvatska)
Cyprus
Czech Republic
Denmark
Estonia
Faroe Islands
Finland
France
Germany
Gibraltar
Greece
Greenland
Holy See (Vatican City State)
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Macedonia
Malta
Moldova
Monaco
Montenegro
Netherlands
Norway
Poland
Portugal
Romania
San Marino
Serbia
Slovakia
Slovenia
Spain
Svalbard and Jan Mayen Islands
Sweden
Switzerland
Turkey
Ukraine
United Kingdom

## Affilation lab contact person
Affiliation
British Geological Survey, UK
CENIEH Burgos, Spain
CNRS-Aix Marseille University, France
CNRS-Cergy-Pontoise University, France
CNRS-Clermont-Ferrand University, France
CNRS-Ecole Normale Supérieure, Paris, France
CNRS-EOST/Université of Strasbourg, France
CNRS-Lille 1 University, France
CNRS-Maine University, France
CNRS-Nice Sophia Antipolis University, France
CNRS-Paris Sud Orsay University, France
CNRS-Rennes 1 University, France
CNRS-Sorbonne Paris Cité University, France
CNRS-Toulouse University, France
CNRS-Université de Grenoble Alpes, France
CNRS-Université de Grenoble, France
CNRS-Université de Lorraine, Nancy, France
CNRS-Université de Montpellier, France
CNRS-Université de Pau, France
CNRS-Versailles St Quentin University, France
CSIC-IACT, Spain
CSIC-ICTJA, Spain
CSIC-IPNA, Spain
Durham University, UK
Ecole Polytechnique, France
ETHZ, Zurich, Switzerland
FCUL, Portugal
FCUP, Portugal
GEOLAB-CERENA/TECNICO, Portugal
GFZ Potsdam, Germany
IGG-CNR, Italy
IGME-Universidad de Zaragoza, Spain
INGV, Italy
ISEL - Physics Department, Portugal
LNEG-UCTM, Portugal
Ludwig-Maximilians-University Munich, Germany
The University of Edinburgh, UK
UCL, UK
Universidad Complutense de Madrid (UCM) and CSIC-IGEO, Spain
Universidad Complutense de Madrid (UCM), Spain
Universidad de Burgos, Spain
Universidad de Cádiz, Spain
Universidad de Granada, Spain
Universidad de Granada, Spain
Universidad de Oviedo, Spain
Universidad de Salamanca, Spain
Universidad de Vigo, Spain
Universidad de Zaragoza-IGME, Spain
Universidad del Pais Vasco, Spain
Università di Roma TRE, Italy
Universitat Autònoma de Barcelona (UAB), Spain
Universitat de Barcelona, Spain
University of Portsmouth, UK
Utrecht University, The Netherlands
Other

## Equipment type
Equipment type | Apparatus | Monitoring
Apparatus | Uniaxial | Optic Fiber
Monitoring | Hooke cell | Laser
| Triaxial | Thermocouple
| Biaxial | Video
| True Triaxial | Photography
| Shear Box | Strain gauge > Axial strain gauge
| Piston Cylinder | Strain gauge > Radial strain gauge
| Multi Anvil | Strain gauge > Axial extensometer
| Diamond Anvil Cell | Strain gauge > Circumferential extensometer
| Brazilian Test | Ultrasonic transducer > P wave transducer
| Patterson Apparatus | Ultrasonic transducer > S wave transducer
| Griggs Apparatus | Other
Schmidt Hammer
Split Hopkinson Pressure Bar
Double Torsion apparatus
Atomic Force Microscope
Rheometer
Permeameter
Pycnometer
Viscosimeter
Laser Profilometer
Light interferometer
Electrodes
Load Stamp
Particle Analyzer
Scanning Electrone Microscope
Electron Microprobe
Transmission Electron Microscope
Optical Microscope
Mass Spectrometer > Accelerator Mass Spectrometry
Mass Spectrometer > Inductively Coupled Plasma-Mass Spectrometry
Mass Spectrometer > Thermal Ionization Mass Spectrometry
Mass Spectrometer > Laser Ablation-Inductively Coupled Plasma-Mass Spectrometry
Mass Spectrometer > Secondary Ion Mass Spectrometry
Mass Spectrometer > Spark Source Mass Spectrometry
Mass Spectrometer > Fourier Transform ion cyclotron resonance
Spectroscopy > Raman
Spectroscopy > Infrared Spectroscopy
Nuclear Magnetic Resonance
X-Ray Diffractometer
X.Ray Fluorescence Spectrometer
Accelerator Mass Spectrometry
Rotary Shear
Other